**Changes to the Technical List of Materials**

March 22, 2024

1. Page y-1
	1. Renewed Hascelik (3/2024 – 3/2025)
2. Pages av-1; av-6; av(1); av(5).
	1. Renewed Apar (3/2024 – 3/2025).
	2. Added Apar to pages av(1) and av(5).

February 15, 2024

1. Page ap-2
	1. Powerline Hardware
		1. Updated to include P1520CC, P1530CC (5/2023 – 5/2024)

January 24, 2024

1. Pages ai-1, ai-3, ai-4, ai-5
	1. Renewed Kopell (1/2024 – 1/2025)

December 7, 2023

1. Pages a-1; a-1.1; k-1; k-1.1; cm-1; ea-1
	1. Renewed Newell-PSN, LLC (12/2023 – 12/2024)
2. Page ae-1
	1. Added Balestro/H-J
		1. PROTÉGÉ+ (12/2023 – 12/2024)

October 17, 2023

1. Pages c-1, f-1, v-2, aa,ab, cu-1, gj-1
	1. Renewed Hubbell Power Systems (10/2023 – 10/2024)

October 16, 2023

1. Pages y-1, y-2, av-1, av-4, av-5, av-6, Uhv-2, Uhv-3, Uhv-4
	1. Renewed Shanghai Silin Special Equipment Co. Ltd. (Priority Wire & Cable) (10/2023 - 10/2024)
	2. Revised World Lighting Cable Co., Ltd. to Xiantong Wire and Cable Co., Ltd.
	3. Renewed Xiantong Wire and Cable Co., Ltd. (Priority Wire & Cable) (10/2023 - 10/2024)

September 13, 2023

1. Pages l-1, ej-1
	1. Updated GPP Solutions (9/2023 – 9/2024)
		1. SODC-xxx series

August 16, 2023

1. Revised “Grid Power Products” to GPP Solutions.
2. GPP Solutions
	1. Renewed GPP Solutions (8/2023 – 8/2024)
		1. Pages b, c, d, f, i, l, n, o, q, s, u, v, x, aa, ab, ao, as, aw, ba, bh, bj, bo, br, bs, ci, cs, cz, da, eb, ek, ft
	2. Added GPP Solutions (8/2023 – 8/2024)
		1. Page l-1 – Deadend Clamps
			1. AQC57N, AQC52N
		2. Page w-1 – Guy Strain Insulators
			1. GL15 Series
		3. Page bx-2 - Automatic Splices
			1. ALLS-4, ALLS-40, ALLS- 477-556

July 12, 2023

1. Pages a, k, af, cm, ea
	1. Renewed Powerline Hardware (7/2023 – 7/2024)
2. Pages c-1, d-1, n-1, o-1, u-1, x-1, z-1, z-6, z-7, aa, ab, ai-1, ai-2, ai-4
	1. Renewed Powerline Hardware (Hobb) (7/2023 – 7/2024)
3. Pages u-2, u-3, bv-1, dt-1
	1. Renewed Mosdorfer (7/2023 – 7/2024)

July 7, 2023

1. Pages av-1, av-5, av-6, Uhv-3
	1. Renewed Coreal (7/2023 – 7/2024)

June 30, 2023

1. Pages av-1, av-6
	1. Added JSK Industries Pvt. Ltd. (6/2023 – 6/2024)

June 26, 2023

1. Pages u-2, u-3, ah-1, bv-1, by-1, dt-1
2. Renewed MacLean Power Systems (6/2023 – 6/2024)

June 2, 2023

1. Page av-5
	1. Added Sierra Cables PLC (6/2023 – 6/2024)

May 5, 2023

1. Pages s-1, w-1, aj-1, ap-2, bh-1
	1. Renewed Powerline Hardware (Hobb) (5/2023 – 5/2024)

March 28, 2023

1. Page y-1
	1. Renewed Hascelik (3/2023 – 3/2024)

March 23, 2023

1. Pages c-1, n-1
	1. Renewed Centennial (3/2023 – 3/2024)

March 22, 2023

1. Pages a-1, a-1.1, cm-1, ea-1
	1. Renewed PPC Insulators (3/2023 – 3/2024).

March 17, 2023

1. Page ai-3, y-2
	1. Renewed Intelli and Coppersteel Bimetalicos (3/2023 – 3/2024)

March 14, 2023

1. Page av-6
	1. Revised technical acceptance period to 3/2023 – 3/2024.

March 13, 2023

1. Pages av-1, av-6
	1. Renewed Apar Industries, Ltd.

February 15, 2023

1. Pages b-1, f-1, f-3
	1. Added Powerline Hardware (Hobb) (2/2023 – 2/2024)
		1. Catalog numbers: P720, P720Z, P740, P740Z, P25179, P25179Z, P203, P203Z, P221, P221Z, P647, P647Z, P3322, P3322Z, P3324 and P3324Z.

January 30, 2023

1. Pages av-5, Uhv-3, Uhv-4
	1. Renewed Interamericana de Cables Venezuela (ICV) (1/2023 – 1/2024)

January 24, 2023

1. Pages c-1, d-1, n-1, o-1, u-1, x-1, z-1, z-6, z-7, aa, ab, ai-1, ai-2, ai-4
	1. Renewed Powerline Hardware (Hobb) (1/2023 – 1/2024)

July 26, 2022

1. Added page U hv-4
	1. Cable, Underground, 600 Volt Cable (Alternative Cable Constructions)

July 20, 2022

1. Pages y-1, y-2, av-1, av-4, av-5, av-6, Uhv-2, Uhv-3
	1. Renewed Priority Wire & Cable (7/2022 – 7/2023)

July 19, 2022

1. Pages a-1, a-1.1, k-1, k-2, af-1, cm-1, ea-1
	1. Renewed Powerline Hardware (7/2022 – 7/2023)

July 6, 2022

1. Page ap-2
	1. Added TE Connectivity (7/2022 – 7/2023)
		1. Catalog numbers THLA, THLB

June 10, 2022

1. Pages p-8, p-9, p-11
	1. Added TE Connectivity (6/2022 – 6/2023)
		1. Catalog numbers TCC and BAT

May 25, 2022

1. Renewed Grid Power Products (5/2022 – 5/2023).

March 29, 2022

1. Pages ai-3, ai-5.
	1. added TE Connectivity (3/2022 – 3/2023).
		1. Catalog number GRCU-58, GRCU-34, GRCS-58, GRCS-34.

March 28, 2022

1. Pages av-1, av-5, av-6, Uhv-3.
	1. Renewed Coreal (3/2022 – 3/2023).

March 25, 2022

1. Section ai – Ground Rods
	1. Revised page numbering for consistency: page ai(1) changed to ai-4; page ai(3) changed to ai-5.

March 23, 2022

1. Pages s-1, bh-1
	1. Added Powerline Hardware (3/2022 – 3/2023).
		1. Catalog numbers P0322, P1626, P0313, P1300, P1399, P093.

March 10, 2022

1. Page w-1
	1. Renewed Powerline Hardware (3/2022 – 3/2023).
	2. Corrected “PCE” to “PCTE”.

March 7, 2022

1. Pages aj-1, ap-2
	1. Renewed Powerline Hardware (3/2022 – 3/2023).

January 18, 2022

1. Pages f-1, v-2, aa,ab, cu-1, gj-1
	1. Renewed Hubbell Power Systems (1/2022 – 1/2023).

December 2, 2021

1. Pages av-1, av-6
	1. Renewed Apar Industries (12/2021 – 12/2022).

December 1, 2021

1. Pages c-1, d-1, n-1, o-1, u-1, x-1, z-1, z-6, z-7, aa, ab, ai-1, ai-2, ai-3, ai(1), ai(3)
	1. Renewed Powerline Hardware (Hobb) (12/2021 – 12/2022).
	2. Renewed Kopell Grounding Systems (12/2021 – 12/2022).

November 26, 2021

1. Pages u-2, u-3, ah-1, bv-1, by-1, dt-1
	1. Renewed MacLean Power Systems (11/2021 – 11/2022).

November 24, 2021

1. Pages ai-3, y-2
	1. Renewed Intelli - Coppersteel Bimetalicos (11/2021 – 11/2022).

November 23, 2021

1. Pages be-1, el-1
	1. Renewed Tavrida (11/2021 – 11/2022).
	2. Added OSM35 model.
	3. Revised Tavrida product descriptions on page be-1.

November 17, 2021

1. Pages av-5, Uhv-2, Uhv-3.
	1. Renewed for Interamericana de Cables Venezuela, S.A (ICV) (11/2021 – 11/2022)

October 15, 2021

1. Page y-1
	1. Renewed for Hascelik.

October 14, 2021

1. Pages c-1, f-1, i-1, n-1, o-1, aa,ab
	1. Renewed Technical Acceptance for Aluma Form (10/2021 – 10/2022).

September 15, 2021

1. Pages a-1, cm-1, ea-2, ea(6)
	1. Added Vanguard Electric, LLC (9/2021 – 9/2022)
		1. Catalog Numbers: 53-1 SG1, 53-2 SG1, 53-4 SG1
		2. Catalog Numbers: 55-2 SG1, 55-3 SG1, 55-4 SG1, 55-5 SG1, 55-6 SG1
		3. Catalog Numbers: 5601SG1, 5603SG1, 5604SG1
		4. Catalog Numbers: 5701SSG1, 5702SSG1, 5703SSG1, 5711SSG1, 5712SSG1, 5713SSG1

June 15, 2021

1. Pages a-1, a-1.1, k-1, k-1.1, k-2, af-1, cm-1, ea-1
	1. Renewed Technical Acceptance for Powerline Hardware (6/2021 – 6/2022)

June 10, 2021

1. Pages b-1, f-1
	1. Added Line Hardware (6/2021 – 6/2022)
		1. Catalog numbers PTP-202, PTP-202A, LVP-585A, HVP-587

May 18, 2021

1. Pages y-1, y-2, av-1, av-4, av-5, av-6, av(5), Uhv-2, Uhv-3.
	1. Renewed Technical Accetpance for Shanghai Silin Special Equipment Co., Ltd. (Priority Wire & Cable, INC) (5/2021 – 5/2022).

April 26, 2021

1. Pages a-1, a-1.1, k-1, k-1.1, cm-1, ea-1
	1. Renewed Technical Acceptance for Newell-PSN (April 2021 – April 2022)

March 22, 2021

1. Pages av-4, av-5, Uhv-2, Uhv-3
	1. Added World Lighting Cable Co, Ltd. (Priority Wire & Cable, INC) (3/2021 – 3/2022)
	2. Corrected: page Uhv-3 to include Shanghai Silin Special Equipment Co., LTD. (Priority Wire & Cable, INC), which was omitted in previous versions.

March 8, 2021

1. Pages a-1, a-1.1, a-2, cm-1, ea-1
	1. Renewed Technical Acceptance for PPC Insualators (3/2021 – 3/2022).
	2. Revised PPC catalog number for ANSI Class 57-1 (15kV) from 5127 to 5125 on page ea-1.
	3. Removed PPC polymer pin insulators on page a-2: HDPE 15F, HDPE 25-F, HDPE 35-F.
	4. Removed footnotes on pages a-1, a-1.1, as neither applies to any manufacturer listed on both pages.

January 27, 2021

1. Pages w-1, aj-1, ap-2
	1. Renewed Technical Acceptance for Powerline Hardware (1/2021 – 1/2022).

January 15, 2021

1. Pages av-1, av-5, av-6, Uhv-3
	1. Renewed Technical Acceptance for Coreal (1/2021 – 1/2022)

January 8, 2021

1. Pages b-1, c-1, d-1, f-1, i-1, l-2, n-1, o-1, q-1, s-1, u-2, v-1, v-2, x-1, aa, ab, ao-1, as-1, aw-1, ba-1, bh-1, bj-1, bo-1, br-1, bs-1, ci-1, cs-1, cz-1, da-1, eb-1, ek-1, ft-1.
	1. Renewed Technical Accetpance for Grid Power Products (1/2021 – 1/2022)

December 22, 2020

1. Page k-2
	1. Renewed Technical Accetpance for Powerline Hardware (Yikun) (12/2020 – 12/2021)

December 18, 2020

1. Pages c-1; d-1; n-1; o-1; u-1; x-1; z-1,6,7; aa; ab; ai-1,2,(1)
	1. Renewed Technical Accetpance for Powerline Hardware (Hobb) (12/2020 – 12/2021).

December 16, 2020

1. Pages f-1, v-2, aa,ab, cu-1, gj-1
	1. Renewed Technical Acceptance for Hubbell (12/2020 – 12/2021)

December 15, 2020

1. Pages al-1
	1. Renewed Technical Accetpance for Paslode (12/2020 – 12/2021).

December 11, 2020

1. Page ap
	1. Added Connector Manufacturing Co., LLC (12/2020 – 12/2021)
		1. Catalog numbers: HLA2/0, HLA2/0T, HLA400, HLA400T, HLB2/0, HLB2/0T, HLB2/0LD, HLB2/0LDT, HLB400, HLB400T

December 8, 2020

1. Page k-2
	1. Added TE Connectivity (12/2020 – 12/2021)
		1. Catalog numbers: TE-DS15-CT-11, TE-DS28-CT-11, TE-DS35-CT-11, TE-DS46-CT-11, TE-DS69-CT-11
2. Page ea-4
	1. Added TE Connectivity (12/2020 – 12/2021)
		1. Catalog numbers: TE-LP15-FS1-01, TE-LP25-FS1-01, TE-LP35-FS1-01, TE-LP15-CS1-01, TE-LP25-CS1-01, TE-LP35-CS1-01

November 2, 2020

1. Page aj-1
	1. Added TE Connectivity (11/2020 – 11/2021)
		1. Catalog numbers: TGRL58

October 23, 2020

1. Page p-8
	1. Added TE Connectivity (Raychem RPG) (11/2020 – 11/2021)
		1. Catalog Numbers: TCU, TAH

July 17, 2020

1. Renewed Technical Accetpance for ICV (7/2020 – 7/2021)
	1. Pages av-5, Uhv-2, Uhv-3

June 30, 2020

1. Renewed Technical Accetpance for Powerline Hardware (6/2020 – 6/2021)
	1. Pages a-1, a1.1, k-1, k-1.1, af-1, cm-1, ea-1

June 17, 2020

1. Renewed Technical Acceptance for MacLean Power Systems (6/2020 – 6/2021)
	1. Pages u-2; u-3; ah-1; by-1; dt-1

June 9, 2020

1. Renewed Technical Acceptance for Kopell Grounding Systems Pvt., Ltd. (6/2020 – 6/2021)
	1. Pages ai-1; ai-3; ai(1); ai(3)

June 1, 2020

1. Added Hascelik (6/2020 – 6/2021)
	1. Page y-1

May 19, 2020

1. Renewed Technical Accetpance for Apar Industries (5/2020 – 5/2021)
	1. Pages a-1; a-6

May 13, 2020

1. Renewed Technical Accetpance for Newell-PSN (5/2020 – 5/2021)
	1. Pages a-1; a-1.1; k-1; cm-1; ea-1

April 29, 2020

1. Renewed Technical Acceptance for Romagnole (4/2020 – 4/2021)
	1. Pages b-1, c-1, d-1, f-1, i-1, n-1, o-1, q-1, x-1, aa, ab, ac-1, ai-2, ao-1, ba-1, bb-1, bs-1, cs-1,
	dy-1, ek-1

April 7, 2020

1. Renewed Technical Acceptance for Aluma-Form (4/2020 – 4/2021)
	1. Pages c-1, f-1, i-1, o-1, aa;ab, dy-1

April 2, 2020

1. Renewed Technical Acceptance for Intelli and Coppersteel Bimetalicos Ltda. (4/2020 – 4/2021)
	1. Pages ai-3, y-2

March 24, 2020

1. Granted Technical Acceptance to TE Connectivity (3/2020 – 3/2021)
	1. Pages ai-1, ai-3

March 19, 2020

1. Renewed PPC Insultors (Mar 2020 – Mar 2021)
	1. Pages a-1, a-1.1, a-2, cm-1, ea-1
	2. Correction on page ea-1: Revised “5127” to “5125” in the ANSI 57-1 column.

March 16, 2020

1. Renewed Technical Acceptance for Powerline Hardware (Hobb International) (Mar 2020 – Mar 2021)
	1. Pages w-1, ap-2
2. Renewed Technical Acceptance for Priority Wire & Cable (Mar 2020 – Mar 2021)
	1. Shanghai SiLin
		1. Pages y-1, y-2, av-1, av-4, av-5, av-6, av(5), Uhv-2
	2. Handsun
		1. Pages ai-1, ai-3

March 10, 2020

1. Renewed Technical Acceptance for Fujian and Suzhou (Mar 2020 – Mar 2021)
	1. Pages a-1, a-1.1, k-1, k-1.1, cm-1, ea-1

February 10, 2020

1. Updated all references of “U-1” to “7 CFR 1728.204”.
	1. Page U hv-1.

January 9, 2020

1. Correction to Page aj-1
	1. Powerline Hardware clamp P 58 is also suitable for copper covered ground rods.

January 8, 2020

1. Page aj-1 Ground Rod Clamp
	1. Added Powerline Hardware (1/2020 – 1/2021)
		1. Cat#: P 58

January 7, 2020

1. Added Centennial Infrastructure Products (1/2020 – 1/2021)
	1. Page c-1 Machine Bolts
	2. Page n-1 Double Arming Bolts

November 21, 2019

1. Renewed Technical Acceptance for Grid Power Products 11/2019 – 11/2020.
	1. Pages b-1, c-1, d-1, f-1, i-1, l-1, n-1, o-1, q-1, s-1, u-2, v-1, v-2, x-1, aa, ab, ao-1, as-1, aw-1, ba-1, bh-1, bj-1, bo-1, br-1, bs-1, ci-1, cs-1, cz-1, da-1, eb-1, ek-1, ft-1,

November 14, 2019

1. Renewed Technical Acceptance for Coreal 11/2019 – 11/2020.
	1. Pages av-1, av-5, av-6, Uhv-3

October 15, 2019

1. Renewed Technical Accetpance for Powerline Hardware (Yikun) 10/2019 – 10/2020.
	1. Page k-2 – Insulators, distribution deadend, polymer
2. Renewed Technical Accetpance for Powerline Hardware (Hobb) 10/2019 – 10/2020.
	1. Pages c-1, d-1, n-1, o-1, u-1, x-1, z-1, z-6, z-7, aa, ab, ai-1, ai-2, ai(1)

September 25, 2019

1. Renewed Technical Acceptance for Peak Demand Inc. 9/2019 – 9/2020.
	1. a-1 Insulators, pin type, porcelain
	2. a-2 Insulators, pint type, polymer
	3. k-2 – Insulator, polymer distribution deadend
	4. sd-1 Current Transformers Outdoor Type

August 28, 2019

1. Revised and Renewed Tavrida listing to upgraded max. rating of 800A. 8/2019 – 8/2020.
	1. be-1 – Recloser, vacuum interruption with solid dielectric
	2. el-1 – Sectionlizer

August 26, 2019

1. Renewed Technical Accetpance for Powerline Hardware 8/2019 – 8/2020.
	1. k-2 Insulator, polymer distribution deadend
	2. z-1 Anchors, expanding plate
	3. z-6 Anchors, power-installed screw

August 16, 2019

1. Removed Smart Grid Solutions (*these items have been moved to the* [*domestic List of Materials*](https://www.rd.usda.gov/programs-services/services/engineers))
	1. go-1 Fault Indicators, overhead
	2. Ugo-1 Fault Indicators, underground

June 21, 2019

1. Renewed Technical Listing for Smart Grid Solutions 6/2019 – 6/2020
	1. Pages go, Ugo

June 7, 2019

1. Renewed Technical Listing for MacLean Power Systems 6/2019 – 6/2020
	1. Pages u-2, u-3, ah-1, bv-1, dt-1

May 24, 2019

1. Renewed Technical Listing for Interamericana de Cables Venezuela S.A. (ICV, S.A.)5/2019 – 5/2020.
	1. Pages av-5, Uhv-2, Uhv-3

April 16, 2019

1. Renewed Technical Listing for Powerline Hardware 4/2019 – 4/2020.
	1. Pages a-1, a-1.1, k-1, k-1.1, af-1, cm-1, ea-1

April 1, 2019

1. Revised listing for Tavrida from 630A to 800A max rating.
	1. Pages be-1 and el-1.

February 7, 2019

1. Renewed Technical Acceptance for Kopell Grounding Systems 2/2019 – 2/2020.
	1. Pages ai-1, ai-3, ai(1), ai(3)

February 6, 2019

1. Added Grid Power Products 2/2019 – 2020.
	1. Pages l-2, u-2, cz-1

January 31, 2019

1. Renewed Technical Acceptance for PPC Insulators 2/2019 – 2/2020.
	1. Pages a-1, a-1.1, a-2, cm-1, ea-1

January 30, 2019

1. Renewed Technical Acceptance for Newell-PSN and Mustang Electric 2/2019 – 2/2020.
	1. Pages a-1, a1.1, k-1, k-1.1, cm-1, ea-1

December 14, 2018

1. Renewed Technical Acceptance for Priority Wire & Cable 12/2018 – 12/2019
	1. y-1 - Galvanized Steel Strand
	2. ai-1 - Rods, Ground, 13-mil
	3. ai-3 - Rods, ground, sectional, 13-mil
	4. av-1 - Conductor, ACSR
	5. av-4 - Conductor, Service, (Single conductor)
	6. av-5 - Conductor, Service Cable , (Triplex and Quadruplex)
	7. av-6 - Conductor, Aluminum Alloy (AAAC)
	8. av(5) - Conductor, Twisted Pair (T-2 & VR type)
	9. Uhv-2 Cable, Underground, 600V

December 7, 2018

1. Renewed Technical Acceptance for Powerline Hardware 12/2018 – 12/2019
	1. w-1 Insulator, guy strain, fiberglass
	2. ap-2 Hotline Clamps

November 30, 2018

1. Ugk-1 Terminations, Indoor
	1. Added TE Connectivity
		1. Catalog numbers: CSTI-xxxJ Series (15, 25, 35 kV), CSTI-xxxG (with grounding kit) Series (15, 25, 35 kV) (11/2018 – 11/2019)
2. Ugk-2 Terminiations, Outdoor
	1. Added TE Connectivity-Energy
		1. Catalog numbers: CSTO-xxxJ Series (15, 25, 35 kV), CSTO-xxxG (with grounding kit) Series (15, 25, 35 kV) (11/2018 – 11/2019)

November 29, 2018

1. k-2 – Insulator, polymer distribution deadend
	1. Added Peak Demand
		1. Catalog numbers: CDI-DS-15, CDI-DS-28, CDI-DS-35

November 27, 2018

1. Corrections made to Newell-PSN, LLC (Mustang Electric)
	1. a-1, a-1.1 – Insualtor, pin type
	2. k-1, k-1.1 – Insulator, suspension
	3. cm-1 – Insulator, Spool
	4. ea-1 - Insulator and stud, post type, vertical

October 26, 2018

1. b, c, d, f, I, n, o, q, s, v, x, aa, ab, as, ao, aw, ba, bh, bj, bo, br, bs, ci, cs, da, eb, ek, ft
	1. Renewed Technical Acceptance for Grid Power Products 10/2018 – 10/2019

October 12, 2018

1. av-1, av-5, av-6, Uhv-3
	1. Renewed Technical Acceptance for Coreal 10/2018 – 10/2019
2. f-1
	1. Added Aluma-Form 10/2018 – 10/2019
		1. AF203, AF647

October 5, 2018

1. u-2, u-3, bv-1, dt-1
	1. Renewed Technical Acceptance for Mosdorfer 10/2018 – 10/2019

September 25, 2018

1. av-4, av-5
	1. Added Priority Wire & Cable 9/2018 – 9/2019

September 21, 2018

1. k-1, k-1.1
	1. Renewed Technical Acceptance for Lapp Insualtors LLC 9/2018 – 9/2019
2. c-1; d-1; n-1; o-1; u-1; x-1; aa,ab; ai-1, ai-2, ai(1)
	1. Renewed Technical Acceptance for Powerline Hardware 9/2018 – 9/2019

September 7, 2018

1. a-1, a-1.1, k-1, k-1.1, cm-1, ea-1
	1. Renewed Technical Acceptance for Fujian Hoshing Prosper Electrical Porcelain, Co., Ltd. 9/2018 – 9/2019
2. k-1, k-1.1, ea-1
	1. Renewed Technical Acceptance for Suzhou Porcelain Insulator Works 9/2018 – 9/2019.

September 6, 2018

1. a-1, a-1.1, k-1, k-1.1, cm-1, ea-1
	1. Renewed Technical Acceptance for Action Manufacturing 9/2018 – 9/2019.

August 14, 2018

1. a-2
	1. Added Gamma Corona
		1. Catalog numbers PPT series 8/2018 – 8/2019.

August 3, 2018

1. be-1, el-1
	1. Renewed Technical Acceptance for Tavrida 8/2018 – 8/2019.

August 1, 2018

1. z-1, z-6, z-7, af-1
	1. Renewed Technical Acceptance for Powerline Hardware.

July 31, 2018

1. Pages a-1, a-1.1, cm-1, ea-1
	1. Revised “Mustang Electric” to “Newell-PSN, LLC”.
		1. Newell has purchased Mustang Electric.

July 20, 2018

1. Uhv-1
	1. Revised listing format to make Insulation options clearer.

July 3, 2018

1. Pages Uhv-2
	1. Renewed Technical Acceptance for Changfeng Wire & Cable 7/2018 – 7/2019

June 28, 2018

1. Pages c-1, f-1, v-2, aa/ab, cu-1, eb-1, gj-1
	1. Renewed Technical Acceptance for Hubbell Power Systems 6/2018 – 6/2019

June 27, 2018

1. Pages a-1, a-1.1, cm-1, ea-1
	1. Renewed Technical Acceptance for Mustang Electric Power Products, Inc. 6/2018 – 6/2019

June 5, 2018

1. Pages av-5, Uhv(2), Uhv(3)
	1. Renewed Technical Acceptance for Interamericana de Cables Venezuela, S.A. (ICV) 6/2018 – 6/2019.

May 25, 2018

1. Pages ah-1 Insulator Ties; bv-1 Armor Rods
	1. Renewed Technical Acceptance for MacLean Power Systems 5/2018 – 5/2019

May 4, 2018

1. Pages c-1, i-1, n-1, o-1, aa-1.
	1. Renewed Technical Acceptance for Aluma-Form 5/2018 – 5/2019.
2. Page av-1 Conductor, ACSR
	1. Renewed Technical Acceptance for Jiangsu Zhongtian Technology Co., Ltd (ZTT) 5/2018 – 5/2019

April 27, 2018

1. Pages a-1, a-1.1; k-1, k-1.1; cm-1; ea-1; af-1
	1. Renewed Technical Acceptance for Powerline Hardware 4/2018 – 4/2019

April 13, 2018

1. Multiple pole line hardware pages.
	1. Renewed acceptance for Romagnole 4/2018 – 4/2019.

March 19, 2018

1. Page U hv-2 Cable, Underground, 600V Cable
	1. Added Electrocables 3/2018 – 3/2019
2. Page U hv-3 Cable, Underground, 600 Volt Multi-Conductor Cable
	1. Added Electrocables 3/2018 – 3/2019

March 8, 2018

1. Page bx-2 Automatic Splices
	1. Added Powerline Hardware (Hobb) 3/2018 – 3/2019
		1. Catalog numbers: PLH-42, PLH-1020, PLH-266336, PLH-397477

February 16, 2018

1. Page ae-1 Surge (lightning) Arrester, Distribution Class
	1. Siemens
		1. Added catalog number 3EK8 (3-36, 3-27 ratings) 2/2018 – 2/2019
		2. Renewed Technical Acceptance for catalog number 3EK7. 2/2018 – 2/2019

January 26, 2018

1. Page ai-1 Rods, Ground, 13-mil
	1. Renewed Technical Acceptance for Kopell Grounding Systems Pvt., Ltd. 1/2018 – 1/2019.
2. Page ai-3 Rods, ground, sectional, 13-mil
	1. Renewed Technical Acceptance for Kopell Grounding Systems Pvt., Ltd. 1/2018 – 1/2019.
3. Page ai(1) Rods, Ground, 10-mil
	1. Renewed Technical Acceptance for Kopell Grounding Systems Pvt., Ltd. 1/2018 – 1/2019.
4. Page ai(3) Rods, ground, sectional, 10-mil
	1. Renewed Technical Acceptance for Kopell Grounding Systems Pvt., Ltd. 1/2018 – 1/2019.

November 21, 2017

1. Page a-1 Insulator, pin type
	1. Renewed Technical Acceptance for Newell-PSN, LLC Nov 2017 – Nov 2018
2. Page a-1.1 Insulator, pin type
	1. Renewed Technical Acceptance for Newell-PSN, LLC Nov 2017 – Nov 2018
3. Page k-1 Insulators, suspension
	1. Renewed Technical Acceptance for Newell-PSN, LLC Nov 2017 – Nov 2018
4. Page k-1.1 Insulators, suspension
	1. Renewed Technical Acceptance for Newell-PSN, LLC Nov 2017 – Nov 2018

November 1, 2017

1. Page av-1 – Conductor, ACSR
	1. Renewed Technical Acceptance for Coreal 11/2017 – 11/2018
2. Page av-5 - Conductor, Service Cable, (Triplex and Quadruplex)
	1. Renewed Technical Acceptance for Coreal 11/2017 – 11/2018
3. Page av-6 – Conductor, Aluminum Alloy (AAAC)
	1. Renewed Technical Acceptance for Coreal 11/2017 – 11/2018
4. Page by-1 - Deadend, automatic and formed Type, ACSR
	1. Renewed Technical Acceptance for MacLean Power Systems 11/2017 – 11/2018
5. Page dt-1 - Deadend, service
	1. Renewed Technical Acceptance for MacLean Power Systems 11/2017 – 11/2018
6. Page U hv - Cable, Underground, 600 Volt Multi-Conductor Cable
	1. Renewed Technical Acceptance for Coreal 11/2017 – 11/2018

October 30, 2017

1. Page a-1 Insulators, pin type, porcelain
	1. Added Peak Demand 10/2017 – 10/2018
		1. Catalog numbers: PPT-55-2, PPT-55-3, PPT-55-4, PPT-55-5, PPT-55-6
2. Page a-2 Insulators, pint type, polymer
	1. Added Peak Demand 10/2017 – 10/2018
		1. Catalog numbers: HPT-55-2, HPT-55-3, HPT-55-4, HPT-55-5, HPT-55-6

October 24, 2017

1. Renewed Technical Acceptance 10/2017 – 10/2018 for: Powerline Hardware on the following pages:
	1. Page d-1 Washers, Flat, Flat Rolled Steel
	2. Page u-1 Deadend for galvanized steel or aluminum-clad steel guy strand
	3. Page w-1 Insulators, guy strain, (Fiber Reinforced Plastic)
	4. Page ap-2 Clamp, hot line, ACSR with armor rods

September 15, 2017

1. Renewed Technical Acceptance 9/2017 – 9/2018 for: NGK-Locke, Inc. on the following pages:
	1. k-1 Insulators, suspension
	2. k-1.1 Insulators, suspension

September 7, 2017

1. Page sd-1 Current Transformers Outdoor Type
	1. Added Peak Demand Inc.
		1. Catalog numbers: COS-6, COM-6, COV-6, COL-6

September 5, 2017

1. Renewed Technical Acceptance 9/2017 – 9/2018 for: Powerline Hardware on the following pages:
	1. c-1 – Bolt, machine
	2. n-1 - Bolt, double arming
	3. o-1 - Bolt, eye, oval
	4. x-1 – Rod, anchor
	5. aa – Nut, eye
	6. ab – Nut, thimble eye
	7. ai-1 - Rods, Ground, Copper-covered steel rods
	8. ai-2 - Rods, Ground, hot-dip galvanized
	9. ai(1) - Rods, Ground, 10-mil

July 31, 2017

1. Removed “(Fujian)” from Action Manufacturing listings.

July 27, 2017

1. Added Action Manufacturing (Fujian) from 7/2017 – 7/2018
	1. Page a-1 – Insulator, pin type
		1. Catalog numbers AMl-552GR, AMl-553GR, AMl-554GR
	2. Page a-1.1 – Insulator, pin type
		1. Catalog numbers AMl-561GR, AMl-563GR
	3. Page k-1– Insulators, suspension
		1. Catalog numbers AMl-529G, AMl-521G
	4. Page k-1.1 – Insulators, suspension
		1. Catalog numbers AMl-523G, AMl-524G
	5. Page cm-1 – Insulator, Spool
		1. Catalog numbers AMl-532G, AMl-531G
	6. Page ea-1 - Insulator and stud, post type, vertical
		1. Catalog numbers AMl-571G, AMl-571G, AMl-571G, AMl-572G,
		AMl-573G

July 21, 2017

1. Page k-2 Insulators, distribution deadend
	1. Renewed Technical Acceptance 7/2017 – 7/2018 for: Powerline Hardware (Yikun)
	2. Renewed Technical Acceptance 7/2017 – 7/2018 for: UAI (Zhejiang Gaoneng Electric Installation Co., Ltd.)

July 18, 2017

1. Renewed Technical Acceptance 7/2017 – 7/2018 for: MacLean Power Systems
	1. Page a-1 Insulators, pin type
	2. Page k-1 Insulators, suspension
	3. Page cm-1 Insulators, spool
	4. Page ea-1 Insulators, post type

June 27, 2017

1. Renewed Technical Acceptance 6/2017 – 6/2018 for: Paslode
	1. Page al-1 Staples, ground wire
2. Renewed Technical Acceptance 6/2017 – 6/2018 for: Mosdorfer NA, Inc.
	1. Page u-2 Deadend for galvanized steel guy strand
	2. Page u-3 Deadend for aluminum clad steel guy strand
	3. Page bv-1 Rods, armor
	4. Page dt-1 Deadend, service

June 20, 2017

1. Page a-1.1 Insulators, pin type
	1. Correction: PPC acceptance period May 2017 – May 2018

June 16, 2017

1. Page y-1 Galvanized Steel Strand
	1. Renewed Technical Acceptance 6/2017 – 6/2018
		1. Handsun Industry General Co. (Priority Wire & Cable, INC)
2. Page y-2 Steel Strand, aluminum clad
	1. Renewed Technical Acceptance 6/2017 – 6/2018
		1. Handsun Industry General Co. (Priority Wire & Cable, INC)
3. Page ai-1 Rods, Ground, 13-mil
	1. Renewed Technical Acceptance 6/2017 – 6/2018
		1. Handsun Industry General Co. (Priority Wire & Cable, INC)
4. Page ai-3 Rods, ground, sectional, 13-mil
	1. Renewed Technical Acceptance 6/2017 – 6/2018
		1. Handsun Industry General Co. (Priority Wire & Cable, INC)
5. Page av-1 Conductor, ACSR
	1. Renewed Technical Acceptance 6/2017 – 6/2018
		1. Handsun Industry General Co. (Priority Wire & Cable, INC)
6. Page av-4 Conductor, Service (Single conductor)
	1. Renewed Technical Acceptance 6/2017 – 6/2018
		1. Handsun Industry General Co. (Priority Wire & Cable, INC)
7. Page av-5 Conductor, Service Cable (Triplex and Quadruplex)
	1. Renewed Technical Acceptance 6/2017 – 6/2018
		1. Handsun Industry General Co. (Priority Wire & Cable, INC)
8. Page av-6 Conductor, Aluminum Alloy
	1. Renewed Technical Acceptance 6/2017 – 6/2018
		1. Handsun Industry General Co. (Priority Wire & Cable, INC)
9. Page av(5) Conductor, Twisted Pair (T-2 & VR type)
	1. Renewed Technical Acceptance 6/2017 – 6/2018
		1. Handsun Industry General Co. (Priority Wire & Cable, INC)
10. Page Uhv-2 Cable, Underground, 600 Volt Cable
	1. Renewed Technical Acceptance 6/2017 – 6/2018
		1. Handsun Industry General Co. (Priority Wire & Cable, INC)

June 14, 2017

1. Added Grid Power Products to the following:
	1. Page b-1 Pin, pole top, steel
		1. U740Z, U720Z
	2. Page c-1 Bolt, machine
	3. Page d-1 Washers, Flat
		1. U1076, U1079, U1080, U1081, U1086, U1088
	4. Page f-1 Pin, Crossarm
		1. U222Z, U3322Z
	5. Page i-1 Bolt, carriage
	6. Page n-1 Bolt, double arming
	7. Page o-1 Bolt, eye, oval
	8. Page q-1 Bolt, double upset
		1. U2396
	9. Page v-1 Guy Attachment
		1. U25164, U6500, GA-64
	10. Page v-2 Pole Plates
		1. PEP88
	11. Page x-1 Rod, anchor
	12. Page aa,ab Nut, eye & Nut, thimble eye
		1. U1092, U1093, U1126, U6510
	13. Page ao-1 Bolt, strand eye, straight (thimble eye)
	14. Page aw-1 Washer, spring
		1. U3540, U3541, U177
	15. Page ba-1 Bolt, Angle Eye
	16. Page bj-1 Guy Hook
		1. DGH6X
	17. Page bo-1 Shackle, anchor
		1. U2742, UAS35-BNC, UAS50-BNC
	18. Page br-1 Chain Link (End Link)
		1. CLK-40
	19. Page bs-1 Bolt, single upset
		1. U2344-1/2
	20. Page ci-1 Clevis, thimble
		1. CT88, TC40
	21. Page eb-1 Bracket, Pole Top, For Post type Insulators
		1. PB58, PB58H
	22. Page ek-1 Locknuts
		1. U8583, U8584
	23. Page ft-1 Y-Clevis Ball
		1. UYBC30

June 13, 2017

1. Page z-1 Anchors, expanding and plate
	1. Added Powerline Hardware (Hobb)
		1. Catalog numbers: P8135, P8135, P8135, P8135
2. Page z-7 Anchors, no wrench screw
	1. Added Powerline Hardware (Hobb)
		1. Catalog numbers: P6524, P6526, P6528, P6550

May 30, 2017

1. Page av-5 Conductor, Service Cable (Triplex and Quadruplex)
	1. Renewed Interamericana de Cables Venezuela S.A. (ICV, S.A.)
2. Page Uhv(2) U hv - Cable, Underground, 600 Volt Cable (Alternative Cable Constructions)
	1. Renewed Interamericana de Cables Venezuela S.A. (ICV, S.A.)
3. Page Uhv-3 Cable, Underground, 600 Volt Multi-Conductor Cable
	1. Renewed Interamericana de Cables Venezuela S.A. (ICV, S.A.)

May 25, 2017

1. Page a-1 Insulators, pin type, porcelain
	1. Renewed PPC Insulators
2. Page a(2) Insulators, pin type, polymer
	1. Added PPC Insulators
		1. HDPE 15-C, HDPE 15-F, HDPE 25-F, HDPE 35-F
3. Page ea-1 Insulator and Stud, post type, vertical
	1. Added PPC Insulators
		1. Distribution: 5115, 5120, 5127
		2. Distribution or Transmission: 5127, 5135, 5145

April 14, 2017

1. Page af-1 Cutouts
	1. Renewed listing for Powerline Hardware
		1. Modified voltage ratings from 15, 27 and 36kV to 15, 25, 27 and 36kV for PLH porcelain series.
		2. Modified voltage ratings from 15, 27 and 36kV to 15, 24 and 33-36kV for SIL polymer series.
2. Page a-1 Pin Insulators
	1. Added Mustang Electric Power Products, Inc.
		1. Catalog numbers PIP553 and PIP554.
3. Page cm-1 Spool Insulators
	1. Added Mustang Electric Power Products, Inc.
		1. Catalog numbers SIP531 and SIP531.

TECHNICAL

LIST OF MATERIALS

Acceptable for Use on Systems

of USDA Rural Development

Electrification Borrowers

United States Department of Agriculture

Rural Development Utilities Programs

Electric Programs

Current as of March 22, 2024

 DISCLAIMER

*Every effort has been made to ensure the accuracy of this document. However, in case of discrepancies, records of Technical Standards Committee “A" are the authoritative source.*

PREFACE

This list supersedes all preceding issues including revisions. Revised sheets reflecting changes in the list will be issued quarterly and should be inserted in order to keep your copy up to date.

The items shown in this publication include material and equipment for transmission and distribution facilities. Items not listed include office equipment, tools and work equipment, items of electric general plant and consumer owned wiring facilities. The listings apply only to new items of material and equipment and not to used items.

In addition to items accepted on a general basis, this list also includes items accepted on a conditional basis. As one of the conditions in the acceptance of an item on a conditional basis, contractors are required to obtain the borrower’s concurrence prior to its use.

The inclusion of an item in this list does not indicate that item’s manufacturer or its principals have not been debarred, suspended, proposed for debarment, declared ineligible or voluntarily excluded pursuant to Executive Order 12549, Debarment or Suspension, or any rules or regulations issued thereunder, including 7 CFR Part 3017 (“Debarment Regulations”). Therefore, borrowers must comply with the requirements imposed by the Debarment Regulations before entering into any “covered transaction”, as defined by 7 CFR Part 3017, involving any item on this list.

The acceptance of an additional item or the deletion of an existing item is a function of the Technical Standards Committees. Any manufacturer desiring to have a new item placed on the list, or any user believing an existing item should be removed from the list, is invited to submit the matter to the Committees. Any communication calling attention to an error or omission in the list, such as a wrong catalog number, an obsolete item, etc., will be appreciated. All communications should be addressed to Technical Standards Committee “A” (Electric), USDA Rural Development Utilities Programs, Stop 1569, Washington, D. C. 20250-1569.

INDEX – PART I

-A-

Air break switches cg

Anchor rod x

Anchor rod bonding clamps ck

Anchor shackle bo

Anchors z

Angle suspension bracket cr

Angle thimble eye bolt ba

Anodes U si

Arm assemblies, narrow profile eq

Armor grip suspension assembly m

Armor grip suspension assembly with socket eye ei

Armor rods bv

Arms, laminated upswept fq

Arresters, surge ae

Automatic and formed type deadends by

Automatic splices bx

-B-

Ball hook eh

Ball, oval eye fp

Ball, Y-clevis ft

Bolt, angle eye (thimble type) ba

 carriage i

 clevis ef

 double arming n

 double upset q

 oval eye o

 eye double arming dy

 machine c

 shoulder eye o

 single upset bs

 thimble eye, angle ba

 straight eye (thimble eye) ao

Brace, rossarm, steel h

 rossarm, fiber reinforced plastic cu

 rossarm, wood cu

 sidearm diagonal ac

 sidearm vertical bb

 special rossarm em

Bracket, angle suspension cr

 cutout and arrester extension fm

 cutout extension fn

 extension fj

 insulated da

 narrow profile eq

 offset neutral ec

 oil circuit recloser fk

 pole top pin cs

 post insulator eb

 swinging angle fu

 transformer dm

 transformer secondary insulated fo

i

-C-

Capacitor hangers fd

Capacitor oil switch bz

Capacitor, shunt fc

Carriage bolt i

Chain link (end link) br

Clamp, anchor rod bonding ck

 deadend l

 deadend with socket eye ej

 ground rod aj

 ground wire dp

 guy u

 hot line ap

 loop deadend bn

 suspension m

 suspension with socket eye ei

Clevis bolt ef

Clevis type wireholder bt

Clevis, conduit, insulated dr

 secondary swinging s

 service deadend bh

 service swinging as

 thimble ci

Clip, ground wire al

 guy dz

Combination cutout and arrester ax

Combination power fuse and disconnect switch sl

Compression deadends cp

Compression splices cy

Conductor av

Conduit clevis, insulated dr

Conduit wireholder ds

Connector, grounding, transformer bu

 hot line fi

Connectors p

Cross brace assembly vx

Crossarm assemblies and arm spacers gj

Crossarm assembly, “Z” type (wishbone) gz

Crossarm assembly, H frame (small angle – 161 & 230 kV) gw

Crossarm assembly, H frame (tangent – 161 & 230 kV) gy

Crossarm brace, sidearm diagonal ac

Crossarm brace, sidearm vertical bb

Crossarm brace, special em

Crossarm brace, steel h

Crossarm brace, wood cu

Crossarm pin, steel f

Crossarm reinforcing plate eg

Crossarm saddle fg

Crossarms g

Current limiting backup fuses ag

Current transformers sd

Cutout and arrester extension bracket fm

Cutout and arrester, combination ax

Cutout extension bracket fn

Cutouts and fuses af

ii

-D-

Deadend clamp l

Deadend clamp with socket eye ej

Deadend for guy strand u

Deadend for steel strand l

Deadend, automatic & formed type by

 compression cp

 secondary cq

 service dt

Disconnect switch, hook operated sb

Double arming bolt n

Double arming eye bolt dy

Double arming plate ct

Double upset bolt q

-E-

Elliptical eye screw dq

End link (chain link) br

Extension link du

Extension link (fiberglass) eu

Eye bolt, double arming dy

 oval o

Eye nut aa

Eye screw, elliptical dq

-F-

Fiber reinforced plastic rossarm braces cu

Fuses and cutouts af

Fuses, current limiting, backup ag

 power, substation af

-G-

Gain, pole bi

Grid gain bi

Ground rod clamp aj

Ground rods ai

Ground wire clamp dp

Ground wire clip al

Ground wire staple al

Ground wire support, overhead ed

Ground wire, pole cj

Ground, pole dh

Grounding conductor, substation, coated steel sr

Grounding connector, transformer bu

Guy attachment (Distribution) v

Guy attachment (Transmission) fv

Guy clamp u

Guy clip dz

Guy deadend u

Guy hook bj

Guy marker at

Guy plate bk

iii

Guy strain insulator w

Guy wire y

Guy wire clip dz

Guying plate fv

-H-

H frame rossarm assembly (small angle – 161 & 230 kV) gw

H frame rossarm assembly (tangent – 161 & 230 kV) gy

Hangers, capacitor fd

Hook, ball eh

 guy bj

Hook operated disconnect switch sb

Hot line clamp ap

Hot line connector fi

-I-

Insulated bracket da

Insulator and stud, post type ea

Insulator, guy strain w

 pin type a

 polymer distribution deadend k

 spool cm

 suspension k

-K-

Keys, pole z

-L-

Laminated upswept arms fq

Lag screw j

Link, chain (end link) br

 extension du

 extension (fiberglass) eu

Locknuts ek

Loop deadend clamp bn

-M-

Machine bolt c

Marker, guy at

Meter sockets gb

Meters, watthour ga

-N-

Narrow profile brackets and arm assemblies eq

Neutral bracket, offset ec

Numbers, pole and letters az

Nut, eye aa

 thimble eye ab

iv

-O-

Offset neutral bracket ec

Oil circuit recloser bracket fk

Oil circuit reclosers be

Oval eye ball fp

Oval eye bolt o

Oval tube splice cx

Overhead ground wire support ed

-P-

Pin type insulator a

Pin, rossarm f

 pole top, steel b

Pipe spacer dl

Plastic wire guard er

Plate, rossarm reinforcing eg

 double arming ct

 guy bk

 pole bearing fs

 pole eye v

Pole bearing plate fs

Pole eye plate v

Pole gain bi

Pole ground dh

Pole ground wire cj

Pole keys z

Pole numbers and letters az

Pole top pin bracket cs

Pole top pin, steel b

Post insulator bracket eb

Post type insulator and stud ea

Power fuses, substation af

Primary metering rack fl

-R-

Rack, primary metering fl

Reclosers, automatic circuit be

Regulator by-pass switch sk

Regulators, voltage sc

Rod, anchor x

Rods, armor bv

 ground ai

-S-

Saddle rossarm fg

Screw, elliptical eye dq

 lag j

Secondary swinging clevis s

Sectional ground rods ai

Sectionalizer el

Service deadend dt

Service deadend clevis bh

Service swinging clevis as

v

Shackle, anchor bo

Shoulder eye bolt o

Shunt capacitors fc

Sidearm diagonal rossarm brace ac

Sidearm vertical rossarm brace bb

Single upset bolt bs

Sockets, meter gb

Spacer, pipe dl

Special rossarm braces em

Splice cover, plastic es

Splice for steel strand cz

Splice, automatic bx

 compression cy

 formed type ex

 oval tube cx

Spool Insulator cm

Spring washer aw

Staple, ground wire al

Steel strand y

Structure assembly (small angle – 161 & 230 kV) gw

Structure assembly (tangent – 161 & 230 kV) gy

Substation grounding conductor, coated steel sr

Support, overhead ground wire ed

Surge arresters ae

Suspension clamp m

Suspension clamp with socket eye ei

Suspension insulator k

Swinging angle bracket fu

Switch, capacitor oil bz

 combination power fuse and disconnect sl

 hook operated disconnect sb

 pole top air break cg

 recloser, by-pass sj

 regulator by-pass sk

-T-

Thimble clevises ci

Thimble eye bolt, angle ba

Thimble eye bolt, straight ao

Thimble eye nut ab

Tie, insulator, formed type ah

Transformer bracket dm

Transformer grounding connector bu

Transformer secondary bracket, insulated fo

Transformers, current sd

 pole and power an

 voltage se

-V-

Vacuum circuit reclosers be

Voltage regulators sc

Voltage transformers se

vi

-W-

Washer, spring aw

Washers d

Watthour meters ga

Wildlife guards rp

Wire guard, plastic er

Wire, guy y

Wireholder ar

Wireholder, clevis type bt

 conduit ds

Wood rossarm brace cu

-Y-

Y-clevis ball ft

-Z-

“Z” type (wishbone) rossarm assembly gz

vii

INDEX – PART II

Underground Distribution Equipment

Anodes U si

Arrester, surge U ae

Boot, insulated U gq

Bracket, combination U hj

 pothead mounting U hd

Cable U hv

Cable accessories U hb

Cable route marker U hx

Cable support U hc

Combination cutout and arrester U ax

Connector block, secondary U gp

 transformer U fz

Connector, secondary tap U fw

Cutout and arrester, combination U ax

Enclosure, equipment U gn

Fault indicator U go

Heat shrink tubing U hr

Jacketed cable restoration kits U hf

Pad, equipment U ja

Pedestal, power U gu

Recloser, pad-mounted U be

Regulator, voltage, pad-mounted U sc

Safety signs U hw

Secondary tap connector U fw

Secondary tap or splice cover U hr

Shield, cable riser U gc

 splice U jb

Splice shield U jb

Splice, secondary U gp

 underground U hy

Stake, power pedestal U gv

Switch, air, group-operated U cg

Switchgear, padmounted U he

Terminations, elbow U hp

 multipoint U hq

 outdoor and indoor U gk

Terminator sealing kit U hf

Transformer connector block U fz

Transformer pad U ja

Transformer, current U sd

Transformers U an

Tubing, heat shrink U hr

viii

**Technical List**

**a-1**

**December 7, 2023**

**a – Insulator, pin type**

|  | **ANSI Class:** | **55-2** | **55-3** | **55-4** | **55-5** | **55-6** |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  |  |
| **Technical Acceptance Period** | **Manufacturer** |  |  |  |  |  |
|  |  |  |  |  |  |  |
| Sept 2018 – Sept 2019 | Action Manufacturing | AMl-552GR | AMl-553GR | AMl-554GR | AMI-555GR | - |
|  |  |  |  |  |  |  |
| Oct 2013 – Oct 2014 | Ceramica Santa Terezinha S.A. (CST) | - | CST-1180 | CST-1181 |  |  |
|  |  |  |  |  |  |  |
| Jul 2017 – Jul 2018 | MacLean Power Systems  | - | DP55-3 | DP55-4 |  |  |
|  |  |  |  |  |  |  |
| Dec 2023 – Dec 2024 | Newell-PSN, LLC | 2355520 | 2355530 | 2355540 |  |  |
|  |  |  |  |  |  |  |
| Dec 2023 – Dec 2024 | Newell‐PSN, LLC (Mustang Electric Power Products, Inc.) | - | PIP553 | PIP554 | - | - |
|  |  |  |  |  |  |  |
| Mar 2020 – Mar 2021 | Fujian Hoshing Prosper Electrical Porcelain, Co., Ltd. | - | FHP5553G | FHP5554G |  |  |
|  |  |  |  |  |  |  |
| Sept 2019 – Sept 2020 | Peak Demand Inc. | PPT-55-2 | PPT-55-3 | PPT-55-4 | PPT-55-5 | PPT-55-6 |
|  |  |  |  |  |  |  |
| July 2023 – July 2024 | Powerline Hardware | P55-2GR | P55-3GR | P55-4GR |  |  |
|  |  |  |  |  |  |  |
| Mar 2023 – Mar 2024 | PPC Insulators | 253-S | 261-S | 366-S | 380-S | 386-ST |
|  |  |  |  |  |  |  |
| Sept 2021 – Sept 2022 | Vanguard Electric, LLC | 55-2 SG1 | 55-3 SG1 | 55-4 SG1 | 55-5 SG1 | 55-6 SG1 |
|  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |

**Technical List**

**a-1.1**

**December 7, 2023**

**a – Insulator, pin type**

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
|  |  |  |  |  |
|  | **ANSI Class:** | **56-1** | **56-3** | **56-4** |
|  |  |  |  |  |
| **Technical Acceptance Period** | **Manufacturer** |  |  |  |
|  |  |  |  |  |
| Sept 2018 – Sept 2019 | Action Manufacturing | AMl-561GR | AMl-563GR | - |
|  |  |  |  |  |
| Oct 2013 – Oct 2014 | Ceramica Santa Terezinha S.A. (CST) | CST-23103 | CST-23105 | - |
|  |  |  |  |  |
| Jul 2017 – Jul 2018 | MacLean Power Systems | DP56-1 | - | - |
|  |  |  |  |  |
| Dec 2023 – Dec 2024 | Newell-PSN, LLC | 2365610 | 2365630 | - |
|  |  |  |  |  |
| Dec 2023 – Dec 2024 | Newell‐PSN, LLC (Mustang Electric Power Products, Inc.) | PIP561 | - | - |
|  |  |  |  |  |
| Mar 2020 – Mar 2021 | Fujian Hoshing Prosper Electrical Porcelain, Co., Ltd. | FHP6561G | - | - |
|  |  |  |  |  |
| July 2022 – July 2024 | Powerline Hardware | P56-1GR | P56-3GR | P56-4GR |
|  |  |  |  |  |
| Mar 2023 – Mar 2024 | PPC Insulators | 1027 ST | 2045-S | - |
|  |  |  |  |  |
| Sept 2021 – Sept 2022 | Vanguard Electric, LLC | 5601SG1 | 5603SG1 | 5604SG1 |
|  |  |  |  |  |

**Technical List**

**a-2**

**March 8, 2021**

**a – Insulators, pin type (polymer)**

|  | **ANSI Class:** | **55-2** | **55-3** | **55-4** | **55-5** | **55-6** | **55-7** |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  |  |  |
| **Technical Acceptance Period** | **Manufacturer** |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |
| 8/2018 – 8/2019 | Gamma Corona | - | PPT15CA | PPT15FA | PPT25FAPPT25FBPPT25JAPPT25JB | PPT35FAPPT35JA | PPT35JB |
|  |  |  |  |  |  |  |  |
| 9/2019 – 9/2020 | Peak Demand Inc. | HPT-55-2 | HPT-55-3 | HPT-55-4 | HPT-55-5 | HPT-55-6 |  |

**Technical List**

**b-1**

**August 16, 2023**

**b – Pin, pole top, steel**

DISTRIBUTION

|  |  |  |  |
| --- | --- | --- | --- |
| **Technical Acceptance Period** |  | 12.5/7.2 or 13.2/7.62 kV | 24.9/14.4 kV |
|  |  |  |  |
|  | Pin length, inches: | 20 | 20 |
|  | Thread diameter, inches: | 1 | 1-3/8 |
|  | Hole spacing, inches: | 8 | 8 |
|  | RUS Specification: | D-3 | DT-3 |
|  |  |  |  |
| 8/2023 – 8/2024 | GPP Solutions | U740, U740Z | U720, U720Z |
| 2/2014 – 2/2015 | Milano | 607 | 608 |
| 4/2020 – 4/2021 | Romagnole | R-740 | R-720 |
| 6/2021 – 6/2022 | Line Hardware | PTP-202 | PTP-202A |
|  |  |  |  |
| 2/2023 – 2/2024 | Powerline Hardware (Hobb) | P720 | P740 |
|  |  |  |  |
|  |  |  |  |
| Pins listed below have 4-1/2” offset which eliminates the use of Item cs |
|  |  |  |  |
| 2/2023 – 2/2024 | Powerline Hardware (Hobb) | - | P25179 |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |
| TRANSMISSION |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |
| NOTE:1. Flared type pins may be mounted with either side against the pole.
 |
|  |  |  |  |

Technical List

b-2

February 15, 2023

b – Pin, pole-top

(Non-lead threads)

|  |  |
| --- | --- |
| Technical Acceptance Period | Manufacturer |
|  |  |
| 2/2023 – 2/2024 | Powerline Hardware (Hobb)P720Z – 1-3/8” threadsP740Z – 1” threadsP25179Z – 1-3/8” threads |
|  |  |
|  |  |
|  |  |
|  |  |
|  |  |

b – Pin, Fiber-reinforced plastic pole top

|  |  |
| --- | --- |
| Manufacturer | Conditions |
|  |  |
|  |  |
|  |  |

**Technical List**

**c-1**

**October 17, 2023**

|  |
| --- |
| **c – Bolt, machine** |
| Applicable Specification: ANSI C135.1, “Standards for Galvanized Steel Bolts and Nuts” except that the lengths are in the ranges given below. |
| Applicable Sizes: | 1/2 inch diameter, 6 through 10 inch length |
| 5/8 inch diameter, 6 through 24 inch length |
| 3/4 inch diameter, 6 through 26 inch length |
| 7/8 inch diameter, 6 through 28 inch length |
|  |  |
| The following manufacturers have shown compliance with the applicable specifications for machine bolts: |
|  |  |
| **Technical Acceptance Period** | Manufacturer |
|  |  |
| 10/2021 – 10/2022 | Aluma-Form |
| 3/2023 – 3/2024 | Centennial Infrastructure Products |
| 9/2015 – 9/2016 | Cooper Power Systems |
| 8/2023 – 8/2024 | GPP Solutions |
| 2/2014 – 2/2015 | Milano |
| 4/2020 – 4/2021 | Romagnole |
| 7/2023 – 7/2024 | Powerline Hardware (Hobb) |
| 10-2023 – 10/2024 | Hubbell Power Systems |
|  |  |
| \* “Static proof” design available. |
|  |  |

**Technical List**

**d-1**

**August 16, 2023**

**d – Washers, Flat**

Flat Rolled Steel

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | **Size, inches:** | 2-1/4 x 2-1/4 | 3 x 3 | 4 x 4 | 4 x 4 | 1-3/8round | 1-3/4 round |
|  | **Thickness, in.:** | 3/16 | 1/4 | 3/16 | 1/2 | 12 gauge | 10 gauge |
|  | **Hole Diam., in.:** | 13/16 | 13/16 | 13/16 | 13/16 | 9/16 | 11/16 |
| **Technical Acceptance Period** | **Manufacturer** |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |
| 3/2015 – 3/2016 | Cooper | DF2W5 | DF2W7 | - | DF1W2 | - | - |
| 8/2023 – 8/2024 | GPP Solutions | U1076 | U1079 | U1080 | U1081 | U1086 | U1088 |
| 4/2020 – 4/2021 | Romagnole | - | R-1079 | - | - | - | R-1088 |
| 7/2023 – 7/2024 | Powerline Hardware (Hobb) | P1076 | P1079 | P6829 | - | P1086 | - |

Flat Cast

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | **Size, inches:** | 3 x 3 |  |  |  |  |  |
|  | **Thickness, in.:** | ¼ |  |  |  |  |  |
|  | **Hole Diam., in.:** | 13/16 |  |  |  |  |  |
| **Technical Acceptance Period** | **Manufacturer** |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |

Spurred

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | **Size, inches:** | 3” |  |  |  |  |  |
|  | **Thickness, in.:** | 3/16” |  |  |  |  |  |
|  | **Hole Diam., in.:** | 13/16” |  |  |  |  |  |
| **Technical Acceptance Period** | **Manufacturer** |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |

(A) Aluminum Alloy (M) Malleable Iron (N) Nodular Iron

**Technical List**

**d-2**

**February 2014**

|  |
| --- |
| **d – Washers, Curved** |
|  |
|  | Curved Cast |
|  | Size, inches: | 2-1/4 x 2-1/4 | 3 x 3 | 3 x 4 | 4 x 4 |
| Thickness, in.: | 1/4 | 5/16 | 7/16 | 1/2 |
| Hole Diam., in.: | 11/16 | 11/16 | 15/16 | 13/16 |
|  |  |  |  |  |  |
|  |  |  |  |  |  |
|  | (A) Aluminum Alloy (M) Malleable Iron (N) Nodular Iron |
|  | Curved Rolled Steel |
|  | Size, inches: | 4 x 4 (1) |  |  |  |
|  | Thickness, in.: | 1/4 |  |  |  |
|  | Hole Diam., in.: | 15/16 |  |  |  |
|  |  |  |  |  |  |
| **Technical Acceptance Period** |  |  |  |  |  |
|  |  |  |  |  |  |
| 2/2014 – 2/2015 | Milano | 952 |  |  |  |
|  |  |

Curved Rolled Steel

|  |  |  |  |
| --- | --- | --- | --- |
| Sizes, inches: | 4 x 4 (1) |  |  |
| Thickness, in.: | ¼ |  |  |
| Hole Diam., in.: | 15/16 |  |  |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |

1. To be used only on transmission systems.

**Technical List**

**f-1**

**October 17, 2023**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  |
| **f – Pin, Crossarm**(With square washer, nut and MF locknut) |
|  |  |  |  |  |  |
| DISTRIBUTION |
|  |  |  |  |  |  |
| **TechnicalAcceptance Period** | Thread (inches diam.) | 1 | 1-3/8 | 1 | 1-3/8 |
| Length above base (in.) | 5 | 7 | 5 | 7 |
| Length below base (in.) | 5-3/4 | 7 | 1-1/2 | 1-3/4 |
| Shank (inches diam.) | 5/8 | 5/8 | 5/8 | 3/4 |
|  |  |  |  |  |
|  | Long Shank | Short Shank |
|  |  |  |  |  |  |
| 2/2014 – 2/2015 | Milano | 626 | 621 | 972 | 4045 |
| 8/2023 – 8/2024 | GPP Solutions | - | U647 | U222Z | - |
| 10/2021 -10/2022 | Aluma-Form | AF203 | AF647 | - | - |
| 6/2021 – 6/2022 | Line Hardware | LVP-585A | HVP-587 | - | - |
| 2/2023 – 2/2024 | Powerline Hardware (Hobb) | P203 | P647 | P221 | - |
|  |  |  |  |  |  |
| Clamp Type Pin |
| **TechnicalAcceptance Period** | Thread (inches diam.) | 1 | 1-3/8 |  |  |
| Length above base (in.) | 5-3/4 | 7 |  |  |
|  |  |  |  |  |  |
| 8/2023 – 8/2024 | GPP Solutions | U3322Z | U3324Z |  |  |
| 4/2020 – 4/2021 | Romagnole | R-14322 | R-14322-1 |  |  |
| 10/2023 – 10/2024 | Hubbell Power Systems, Inc. | 14322P | 14321P |  |  |
| 2/2023 – 2/2024 | Powerline Hardware (Hobb) | P3322 | P3324 |  |  |
|  |  |  |  |  |  |
|  |  |  |  |  |  |
|  |  |  |  |  |  |
| Washer Plate for Clamp Type PinThese plates are equipped with lugs to prevent slippage of pin along Crossarm. They may be used to replace the bottom plate on pins already installed. |
|  |  |  |  |  |  |
| **TechnicalAcceptance Period** |  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |  |
|  |  |  |  |  |  |

**Technical List**

**f-3**

**February 15, 2023**

f – Pin, crossarm

(Non-lead threads)

(With square washer, nut and MF locknut)

|  |  |
| --- | --- |
| Technical Acceptance Period | Manufacturer |
|  |  |
| 2/2023 – 2/2024 | Powerline Hardware (Hobb)P203Z – 1” threadsP221Z – 1” threadsP647Z – 1-3/8” threadsP3322Z – 1” threadsP3324Z – 1-3/8” threads |
|  |  |
|  |  |
|  |  |
|  |  |
|  |  |
|  |  |

**Technical List**

**h-1**

**April 2015**

|  |  |
| --- | --- |
|  |  |
| **h – Brace, Crossarm, steel** |
|  |  |
| Wherever item “h” is shown on a construction drawing, use a brace from page cu. |
|  |  |
|  |  |
|  |  |
|  |  |
|  |  |
|  |  |
|  |  |

**Technical List**

**i-1**

**August 16, 2023**

|  |
| --- |
| **i – Bolt, carriage** |
|  |  |
| Applicable Specification: | ANSI C135.1, “Standard for Galvanized Steel Bolts and Nuts.” |
|  |  |
| Applicable Sizes: | 3/8 inch diameter, 3 through 6 inch length |
|  | 1/2 inch diameter, 3 through 6 inch length |
|  |  |
|  |  |
| The following manufacturers have shown compliance with the applicable specifications for carriage bolts. |
|  |  |
| **Technical Acceptance Period** | **Manufacturer** |
|  |  |
| 10/2021 – 10/2022 | Aluma-Form |
| 9/2015 – 9/2016 | Cooper Power Systems |
| 8/2023 – 8/2024 | GPP Solutions |
| 2/2014 – 2/2015 | Milano |
| 4/2020 – 4/2021 | Romagnole |

**Technical List**

**j-1**

**September 2015**

**j – Screw, lag**

Applicable Specifications: ANSI C135.3 “Standard for Zinc Coated Ferrous Lag Screws”

Applicable Sizes: ½ inch diameter, 4 inch length

 ½ inch diameter, 5 inch length

 5/8 inch diameter, 4 inch length

 5/8 inch diameter, 5 inch length

The following manufacturers have shown compliance with the applicable specifications for lag screws:

|  |  |
| --- | --- |
| **Technical Acceptance Period** | **Manufactuer** |
|  |  |
| Sept 2015 – Sept 2016 | Cooper Power Systems |
|  |  |
|  |  |
|  |  |
|  |  |
|  |  |

**Technical List**

**k-1**

**December 7, 2023**

**k – Insulators, suspension**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | ANSI Class | 52-9A | 52-1 | 52-4 | 52-3 |
|  | Type | Clevis | Clevis | Clevis | Ball & Socket |
|  |  |  |  |  |  |
|  | Disc Diameter | 4-1/4” | 6” | 9” or 9-1/2” | 9” or 9-1/2” |
|  | M & E Rating, lbs. | 10,000 | 10,000 | 15,000 | 15,000 |
|  | Leakage | 6-3/4” | 7” | 11-1/2” | 11-1/2” |
|  | Flashover,kV: Dry | 60 | 60 | 80 | 80 |
|  | Flashover, kV: Wet | 30 | 30 | 50 | 50 |
|  | NOTES | (3) (4) | (3) (4) | (5) | (2) |
|  |  |  |  |  |  |
| **Technical Acceptance Period** | Manufacturer | Catalog Number |
|  |  |  |  |  |  |
| Sept 2018 – Sept 2019 | Action Manufacturing | AMl-529G | AMl-521G |  |  |
|  |  |  |  |  |  |
| Oct 2013 – Oct 2014 | Ceramica Santa Terezinha S.A. (CST) | CST-24304 | CST-24303 | - | - |
|  |  |  |  |  |  |
| Sept 2018 – Sept 2019 | Lapp Insulator Co, LLC(Dalian Insulator Co.,LTD) | - | - | 008100-70-D | 008200-70-D |
|  |  |  |  |  |  |
|  |  |  |  |  |  |
| Sept 2017 – Sept 2018 | NGK-Lock, Inc. | - | - | - | 20S840\* |
|  |  |  | 20S195\* |
|  |  |  |  |  |  |
| Dec 2023 – Dec 2024 | Newell-PSN, LLC | 2325290 | 2325210 | - | - |
|  |  |  |  |  |  |
| Mar 2020 – Mar 2021 | Fujian Hoshing Prosper Electrical Porcelain, Co., Ltd. | FHP2529A0G | FHP252100G | - | - |
|  |  |  |  |  |  |
| Jul 2017 – Jul 2018 | MacLean Power Systems | DP52-9A | - | - | - |
|  |  |  |  |  |  |
| July 2023 – July 2024 | Powerline Hardware | - | P52-1G | P52-4G | P52-3G |
|  |  |  |  |  |  |
| Mar 2020 – Mar 2021 | Suzhou PorcelainInsulator Works | 24209 | 24201A | - | - |
|  |  |  |  |  |  |

Notes:

\* zinc sleeve

1. Use two for 24.9/14.4 kV deadends.
2. To be used only on transmission lines.
3. To be used only on distribution lines.
4. Use two insulators for 12.5/7.2 kV deadends and three for 24.9/14.4 kV deadends.
5. Use two insulators for 24.9/14.4 kV deadends.

**Technical List**

**k-1.1**

**December 7, 2023**

**k – Insulators, suspension**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | ANSIClass | 52-3 | 52-4 | 52-5 | 52-6 |
|  | Type | Ball & Socket | Clevis | Ball & Socket | Clevis |
|  |  |  |  |  |  |
|  | Disc Diameter | 10” | 10” | 10” | 10” |
|  | M & E Rating,lbs. | 15,000 | 15,000 | 25,000 | 25,000 |
|  | Leakage | 11-1/2” | 11-1/2” | 11” | 11” |
|  | Flashover;kV: Dry | 80 | 80 | 80 | 80 |
|  | Flashover,kV:Wet | 50 | 50 | 50 | 50 |
|  | NOTES | (2) | (1) | (2) | - |
|  |  |  |  |  |  |
| **Technical Acceptance Period** | Manufacturer | Catalog Number |
|  |  |  |  |  |  |
| Sept 2018 – Sept 2019 | Action Manufacturing | AMl-523G | AMl-524G | - | - |
|  |  |  |  |  |  |
| Aug 2011 – Aug 2012 | Ceramica Santa Terezinha S.A. (CST) | CST-8.02.19.01 | CST-8.02.19.04 | CST-8.02.28.04 | - |
|  |  |  |  |  |  |
| Sept 2018 – Sept 2019 | Lapp Insulator Co, LLC(Dalian Insulator Co.,LTD) | - | - | 005960A-70-D | - |
|  |  |  |  |  |  |
| Sept 2018 – Sept 2019 | Lapp Insulator Co, LLC (NGK InsulatorsTangshan Co., Ltd.) | - | - | - | 002300‐70‐K |
|  |  |  |  |  |  |
| Dec 2023 – Dec 2024 | Newell-PSN, LLC | 2325230 | 2325240 | 2325250 | 2325260 |
|  |  |  |  |  |  |
| Sept 2017 – Sept 2018 | NGK-Locke, Inc. | - | 20S580 | 30S255\* | 30S257 |
|  |  | 30S295\* |  |
|  |  |  |  |  |  |
| Mar 2020 – Mar 2021 | Fujian Hoshing Prosper Electrical Porcelain, Co., Ltd. | FHP2523G | FHP2524G | - | - |
|  |  |  |  |  |  |
| July 2023 – July 2024 | Powerline Hardware | P52-3G | P52-4G | - | - |
|  |  |  |  |  |  |
| Mar 2020 – Mar 2021 | Suzhou PorcelainInsulator Works | 24203A | 24204A | 24205A | 24206A |
|  |  |  |  |  |  |

Notes:

\* zinc sleeve

1. Use two for 24.9/14.4 kV deadends.
2. To be used only on transmission lines.
3. To be used only on distribution lines.
4. Use two insulators for 12.5/7.2 kV deadends and three for 24.9/14.4 kV deadends.
5. Use two insulators for 24.9/14.4 kV deadends.

**Technical List**

**k-2**

**July 12, 2023**

|  |
| --- |
| **k – Insulator, polymer distribution deadend** |
| Technical Acceptance Period | Manufacturer | Catalog Numbers |
|  |  |  |
| 7/2023 – 7/2024 | Powerline Hardware (Yikun) | P8215-SP8225-SP8235-S |
|  |  |  |
| 11/2015 – 11/2016 | Salisbury | 9501U-SI (silicone – 15 kV)9502U-SI (silicone – ANSI DS-28)9502L-EP (silicone – 25 kV)9503U-SI (silicone – 35 kV) |
|  |  |  |
| 7/2017 – 7/2018 | UAI (Zhejiang Gaoneng Electric Installation Co., Ltd.) | FXB-15/45(70)CTFXB-25/45(70)CTFXB-36/45(70)CT |
|  |  |  |
| 9/2019 – 9/2020 | Peak Demand Inc. | CDI-DS-15CDI-DS-28CDI-DS-35 |
|  |  |  |
|  |  |  |
| 12/2020 – 12/2021 | TE Connectivity (Raychem) | TE-DS15-CT-11 |
|  |  | TE-DS28-CT-11 |
|  |  | TE-DS35-CT-11 |
|  |  | TE-DS46-CT-11 |
|  |  | TE-DS69-CT-11 |
|  |  |  |
|  |  |  |
| NOTE: When insulators from this page are used, adjust construction drawing material list quantities as necessary. Recommended maximum working load is 5,000 lbs. |

Technical List

l-1

September 13, 2023

l – Clamp, deadend

DISTRIBUTION

|  |  |  |
| --- | --- | --- |
|  | Copper 2 through 6 | ACSR (Aluminum Clamps) |
| Technical Acceptance Period | CWC 4A through 8A | 4/0 & 3/0 | 2/0 | 1/0 | 2&4 |
|  |  |  |  |  |  |  |
| 9/2023 – 9/2024 | GPP Solutions | - | AQC57N | AQC52N | AQC52N | AQC52N |
|  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |

Technical List

l-2

August 16, 2023

l – Deadend for steel strand (overhead ground wire)

TRANSMISSION

For high strength, extra high strength steel strand and aluminum clad steel strand

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
|  |  | **High Strength Steel** | **Aluminum-clad steel** | **Extra High Strength** |
|  |  |  |  |  |  |  |  |  |  |
| **Technical Acceptance Period** | **Manufacturer** | **3/8”** | **7/16”** | **7 No. 9 AWG** | **7 No. 8 AWG** | **7 No. 7 AWG** | **5/16”** | **3/8”** | **7/16”** |
|  |  |  |  |  |  |  |  |  |  |
| **Compression Type** |
|  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |
| **Formed Type\*** |
|  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |
| \* Class B galvanizing. When overhead ground wire has Class C galvanizing, formed deadend should also have Class C galvanizing. |
| **Automatic Type** |
|  |  |  |  |  |  |  |  |  |  |
| 8/2023 – 8/2024 | GPP Solutions | AGDE38U | AGDE716U | - | - | - | AGDE516U | AGDE38U | AGDE716U |
|  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |
| **Clamp Type** |
|  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |

**Technical List**

**n-1**

**August 16, 2023**

|  |
| --- |
| **n – Bolt, double arming** |
|  |  |
| Applicable Specification: | ANSI C135.1, “Standard for Galvanized Steel Bolts and Nuts.” |
|  |  |
| Applicable Sizes: | 5/8 inch diameter, 12 inch through 24 inch length |
|  | 3/4 inch diameter, 20 inch through 24 inch length |
|  |  |
| The following manufacturers have shown compliance with the applicable specifications for double arming bolts: |
|  |  |
| **Technical Acceptance Period** | Manufacturer |
|  |  |
| 10/2021 – 10/2022 | Aluma- Form |
| 3/2023 – 3/2024 | Centennial Infrastructure Products |
| 9/2015 – 9/2016 | Cooper Power Systems |
| 8/2023 – 8/2024 | GPP Solutions |
| 2/2014 – 2/2015 | Milano |
| 4/2020 – 4/2021 | Romagnole |
| 7/2023 – 7/2024 | Powerline Hardware (Hobb) |
|  |  |
|  |  |
|  |
|  |  |

**Technical List**

**o-1**

**August 16, 2023**

|  |
| --- |
| **o – Bolt, eye, oval** |
| Applicable Specification:  | ANSI C135.4, “Standards for Galvanized Ferrous Eye Bolts and Nuts for Overhead Line Construction.” |
|  |  |
| Applicable Sizes: | 5/8 inch diameter, 6 through 20 inch length |
| 3/4 inch diameter, 8 through 20 inch length |
|  |  |
| **Technical Acceptance Period** | Manufacturer |
|  |  |
| 10/2021 – 10/2022 | Aluma-Form |
| 7/2023 – 7/2024 | Powerline Hardware (Hobb) |
| 8/2023 – 8/2024 | GPP Solutions |
| 11/2013 – 11/2014 | Hubbell Power Systems (3/4 - inch diameter ONLY) |
| 4/2020 – 4/2021 | Romagnole |
| 2/2014 – 2/2015 | Milano |
| 8/2014 – 8/2015 | Cooper Power Systems |
|  |
| **Shoulder Eye Bolt****for Transmission Structures** |
| Applicable Sizes: | 3/4 inch diameter, 8 inch through 20 inch length |
|  |  |
| **Technical Acceptance Period** | Manufacturer | Catalog Number |
|  |  |  |
|  |  |  |
|  |  |

Technical

p-8

June 10, 2022

p – Connectors, Compression

Applicable Specification: ANSI C119.4

DISTRIBUTION

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  |
| Technical Acceptance Period | Manufacturer | Aluminum toaluminum | Aluminum tocopper | Copper tocopper | Tap Connections(Al to Al,Al to Cu) |
|  |  |  |  |  |  |
| 6/2022 – 6/2023 | TE Connectivity (Raychem RPG) | TCUTAH |  | TCC | TCUTAH |
|  |  |  |  |  |  |
|  |  |  |  |  |  |

NOTE: These connectors are acceptable when installed using tools and dies in accordance with the connector manufacturer’s recommendations.

Technical List

p-9

June 10, 2022

p – Connectors, Compression

Applicable Specification: ANSI C119.4

SERVICE

|  |  |  |  |
| --- | --- | --- | --- |
|  |  |  |  |
| Technical Acceptance Period | Manufacturer | Aluminum-to-AluminumAluminum-to-Copper | Copper-to-Copper |
|  |  |  |  |
| 6/2022 – 6/2023 | TE ConnectivityRaychem (RPG) | - | TCC |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |

These connectors are furnished in a variety of sizes to fit all combinations of aluminum and copper service wire.

NOTE: These connectors are acceptable when installed using tools and dies in accordance with the connector manufacturer’s recommendations.

Technical List

p-11

June 10, 2022

p – Connectors

(wedge type)

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Technical Acceptance Period | Manufacturer | Aluminum-to-aluminum | Aluminum-to-copper | Copper-to-copper | Tap Connections(Al to Al ,Al to Cu) |
|  |  |  |  |  |  |
| 6/2022 – 6/2023 | TE Connectivity | BAT | BAT | - | BAT |
|  |  |  |  |  |  |
|  |  |  |  |  |  |
|  |  |  |  |  |  |
|  |  |  |  |  |  |
|  |  |  |  |  |  |
|  |  |  |  |  |  |
|  |  |  |  |  |  |
|  |  |  |  |  |  |
|  |  |  |  |  |  |

**Technical List**

**q-1**

**August 16, 2023**

**q – Bolt, double upset**

Applicable Specification: “RUS Specifications for Single and Double Upset Spool Bolts,” D-5

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | Diameter, inches: | 5/8 | 5/8 | 5/8 | 5/8 |
| **Technical Acceptance Period** | Length, inches: | 7 | 8 | 9 | 10 |
|  |  |  |  |  |  |
| 8/2023 – 8/2024 | GPP Solutions | - | - | - | U2396 |
| 4/2020 – 4/2021 | Romagnole | - | R-2394 | R-2395 | R-2396 |
|  |  |  |  |  |  |

**Technical List**

**s-1**

**August 16, 2023**

**s – Clevis, secondary swinging**

Applicable Specifications: “RUS Specifications for Secondary Swinging Clevises,” D-6

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| Technical Acceptance Period | Manufacturer | Clevis only\* | Clevis with 1-3/4” groove spool | Clevis with 3” groove spool |
|  |  |  |  |  |
| 8/2023 – 8/2024 | GPP Solutions | U0322 | - | - |
| 2/2014 – 2/2015 | Milano | 253 | - | - |
| 9/2014 – 9/2015 | Cooper Power Systems | DC4S1 | - | - |
| 5/2023 – 5/2024 | Powerline Hardware | P0322 |  |  |
|  |  | P1626 |  |  |
|  |  |  |  |  |

\*Catalog Number does not include spool. See page cm for spool type insulators.

**Technical List**

**u-1**

**July 12, 2023**

|  |
| --- |
| **u – Deadend for galvanized steel or****aluminum-clad steel guy strand** |
|  |  |  |  |
| Technical Acceptance Period | Manufacturer |  |  |
|  |  |  |  |
|  | 3-Bolt Guy Clamp |
|  |  |  |  |
|  |  | Light (1/2” bolts) | Heavy (5/8” bolts)\* |
|  |  |  |  |
| 7/2023 – 7/2024 | Powerline Hardware(Hobb) | P930 | P931 |
|  |  |  |  |
| \*For use on transmission. |
|  |  |  |  |

**Technical List**

**u-2**

**August 16, 2023**

**u – Deadend for galvanized steel guy strand**

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **Technical Acceptance Period** | Strand Size | 1/4” | 9/32” | 5/16” | 3/8” | 7/16” |
|  |  |  |  |  |  |  |
|  | Automatic |
|  |  |  |  |  |  |  |
| 8/2023 – 8/2024 | **GPP Solutions** | AGDE14 | AGDE516 | AGDE516 | AGDE38 | AGDE716 |
|  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |
|  | Formed Type |
|  |  |  |  |  |  |  |
|  | **Mosdorfer NA, Inc.** |  |  |  |  |  |
| 7/2023 – 7/2024 | For standard guy\* | GDE0259 | GDE0310 | GDE0327 | GDE0360 | GDE0460 |
|  |  |  |  |  |  |  |
| 6/2023 – 6/2024 | **MacLean Power Systems**for standard guy\* | DE-S1104 | - | DE-S1106 | DE-S1107 | DE-S1108 |
|  |  | DE-S9104 | - | DE-S9106 | DE-S9107 | DE-S9108 |
|  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |
|  | \* Class B galvanizing. When guy wire has Class C galvanizing, formed deadend should also have Class C galvanizing. |
|  |  |  |  |  |  |  |

**Technical List**

**u-3**

**July 12, 2023**

**u – Deadend for aluminum clad steel guy strand**

|  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| **Technical Acceptance Period** | Strand Size: | 3#10(4M) | 7#12(6M) | 7#11(8M) | 7#10(10M) | 7X.110”(11.5M) | 7#9(12.5M) | 7X.121”(14M) | 7#8(16M) | 7X.148”(20M) |
|  |  |  |  |  |  |  |  |  |  |  |
| Formed TypeAluminum-Clad Steel Guy Strand |
|  |  |  |  |  |  |  |  |  |  |  |
| 4/2012 – 4/2013 | Hubbell (IBRAP) | - | AWDE4110 | AWDE4113 | AWDE4116 | - | AWDE4119 | AWDE4120 | AWDE4122 | AWDE4126 |
|  |  |  |  |  |  |  |  |  |  |  |
| 6/2023 – 6/2024 | MacLean Power Systems | - | DE‐AC4110 | - | DE‐AC4116 | - | DE‐AC4119 | - | DE‐AC4122 | DE‐AC4126 |
|  |  |  |  |  |  |  |  |  |  |  |
| 7/2023 – 7/2024 | Mosdorfer NA, Inc. | AWDE0230 | AWDE0247 | AWDE0280 | AWDE0313 | AWDE0336 | AWDE0355 | AWDE0364 | AWDE0394 | AWDE0474 |
|  |  |  |  |  |  |  |  |  |  |  |
| 10/2011 – 10/2012 | Utility Standard (HD Supply, Inc.) | - | - | - | USARWDE4116 | - | - | - | - | - |
|  |  |  |  |  |  |  |  |  |  |  |
| AutomaticAluminum-Clad Steel Guy Strand |
|  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |  |

**Technical List**

**v-1**

**August 16, 2023**

**v – Guy Attachment**

for 5/8” bolt

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  |
|  | Type: | Formed Strap | Angle Bolt Eye | Guy Hook | Guy Hook\* |
|  |  |  |  |  |  |
| Technical AcceptancePeriod | Maximum WorkingLoad Rating: | 23,130 N (5200 lbs.) | 23,130 N(5200 lbs.) | 23,130 N(5200 lbs.) | 37,800 N(8500 lbs.) |
|  |  |  |  |  |  |
| 3/2015 – 3/2016 | Cooper Power Systems | - | - |  | DG21H2 |
| 8/2023 – 8/2024 | GPP Solutions | U25164 | U6500 | GA-64 | - |
|  |  |  |  |  |  |
|  |  |  |  |  |  |

\*This hook may be used in place of the wrapped guy arrangement in assemblies E3-2 and E3-3.

**Technical List**

**v-2**

**October 17, 2023**

**v – Pole Eye Plates**

|  |  |  |
| --- | --- | --- |
|  | Type: | Pole Eye Plate |
|  |  |  |
| Technical AcceptancePeriod | Maximum WorkingLoad Rating: | 37,800 N.(8500 lbs.) |
|  |  |  |
|  | (5/8” Bolt) |
|  |  |  |
| 3/2015 – 3/2016 | Cooper Power Systems |  |
|  |  |  |
|  | (3/4” Bolt) |
|  |  |  |
| 3/2015 – 3/2016 | Cooper Power Systems |  |
| 8/2023 – 8/2024 | GPP Solutions | PEP88 |
| 10/2023 – 10/2024 | Hubbell (Chance) | GEP6 |
|  |  |  |
|  |  |  |
|  |  |  |
|  |  |  |

**Technical List**

**v-3**

**February 2015**

**v – Pole Bands**

|  |  |  |
| --- | --- | --- |
|  | Type: | Pole Bands |
|  |  |  |
| Technical AcceptancePeriod | Maximum WorkingLoad Rating: | 10,000 lbs. |
|  |  |  |
| 3/2015 – 3/2016 | Cooper | DG40B1, DG40B2 |
|  |  |  |

**Technical List**

**w-1**

**August 16, 2023**

**w – Insulators, guy strain**

(Fiber Reinforced Plastic)

|  |  |  |
| --- | --- | --- |
| Technical Acceptance Period |  | Ultimate Strength (lbs.) |
| Manufacturer | 11,000 | 15,000 | 21,000 |
|  |  |  |  |  |
| 5/2023 – 5/2024 | Powerline Hardware | - | PCC, PCTE Series | PCC, PCTE Series |
|  |  |  |  |  |
| 8/2023 – 8/2024 | GPP Solutions | - | GL15 Series | - |
|  |  |  |  |  |
|  |  |  |  |  |

**Technical List**

**x-1**

**August 16, 2023**

**x – Rod, anchor**

Applicable Specification: ANSI C135.2, “Standards for Galvanized Ferrous Strand Eye Anchor Rods”

Applicable Sizes: Single guy: 5/8 inch diam. 6, 7 and 8 feet long
3/4 inch diam. 8, 9 and 10 feet long
1 inch diam. 9 and 10 feet long

 Double guy: 5/8 inch diam. 7 and 8 feet long
 3/4 inch diam. 8, 9 and 10 feet long
 1 inch diam. 9 and 10 feet long

 Single Guy: Drive: 5/8 inch diam. 7 and 8 feet long
3/4 inch diam. 8, 9 and 10 feet long
1 inch diam. 9 and 10 feet long

 Double Guy: Drive: 5/8 inch diam. 7 and 8 feet long
3/4 inch diam. 8, 9 and 10 feet long
1 inch diam. 9 and 10 feet long

The following manufacturers have shown compliance with the applicable specifications. Some manufacturers cannot supply all sizes listed above. Check with manufacturer or distributor for availability.

|  |  |
| --- | --- |
| **Technical Acceptance Period** | Manufacturer |
|  |  |
| 8/2023 – 8/2024 | GPP Solutions |
| 4/2020– 4/2021 | Romagnole |
| 7/2023 – 7/2024 | Powerline Hardware (Hobb) |

**Technical List**

**y-1**

**March 22, 2024**

**y – Galvanized Steel Strand**

Usage: Guy, Distribution or Transmission Line

Overhead Static Wire

ASTM Specification: A 475 – For Guy Strand

A 363 – For Overhead Static Wire

Following grades/diameters of steel wire strands are preferred sizes:

For Guying

|  |  |  |
| --- | --- | --- |
| Siemens-Martin | High Strength | Extra High Strength Grade |
| Distribution Line | Dist. or Trans. | Distribution | Transmission |
| 1/4” dia. | 1/4” dia. | 1/4” dia. | 1/4” dia. |
| 3/8” | 9/32” | 9/32” | 9/32” |
| 7/16” | 5/16” | 5/16” | 5/16” |
|  | 3/8” | 3/8” | 3/8” |
|  | 7/16” |  | 7/16” |
|  |  |  |  |

For Overhead Static Wire (Groundwire)

|  |  |
| --- | --- |
| High Strength | Extra High Strength Grade |
| 3/8” dia. | 5/16” dia. |
| 7/16” | 3/8” |
|  | 7/16” |
|  |  |

|  |  |
| --- | --- |
| **Technical Acceptance Period** | Manufacturer . |
|  |  |
|  |  |
| **10/2023 – 10/2024** | Shanghai Silin Special Equipment Co., Ltd. (Priority Wire & Cable, INC) |
|  |  |
| **3/2024 – 3/2025** | Hascelik |
|  |  |

Note: The buyer should specify Class A, B, or C coating per ASTM A363 or A475.

**Technical List**

**y-2**

**October 16, 2023**

**y – Steel Strand**

Aluminum-Clad

Specifications: ASTM B415 and B416

For overhead groundwire

(Joint and splice requirements for wire and strand to meet ASTM A363)

AWG Sizes: (a) 7 No. 10, (c) 7 No. 9, (d) 7 No. 8, (e) 7 No. 7 AWG

|  |  |  |
| --- | --- | --- |
| **Technical Acceptance Period** |  |  |
|  |  |  |
|  |  |  |
| **10/2023 – 10/2024** | Shanghai Silin Special Equipment Co., Ltd. (Priority Wire & Cable, INC) | (a), (c), (d), (e) |
|  |  |  |
| **12/2013 – 12/2014** | Bekaert Xinhua Metal Products Co., Ltd. | (a), (c), (d), (e) |
|  |  |  |
| **3/2023 – 3/2024** | Coppersteel Bimetalicos Ltda. | (a), (c), (d), (e) |

For guy strand

(M is rated breaking load in thousand lbs)

M Sizes: 6M (7 No. 12), 8M (7 No. 11), 10M (7 No. 10), 11.5M (7 x 0.110"), 12.5M (7 No. 9), 14M (7 x 0.121"),
16M (7 No. 8), 18M (7 x 0.139"), 20M (7 x 0.148")

|  |  |  |
| --- | --- | --- |
| **Technical Acceptance Period** |  |  |
|  |  |  |
|  |  |  |
| **10/2023 – 10/2024** | Shanghai Silin Special Equipment Co., Ltd. (Priority Wire & Cable, INC) | 6M, 8M, 10M, 12.5M, 14M, 16M, 20M |
| **12/2013 – 12/2014** | Bekaert Xinhua Metal Products Co., Ltd. | 6M, 8M, 10M, 12.5M, 14M, 16M, 18M, 20M |
|  |  |  |
| **3/2023 – 3/2024** | Coppersteel Bimetalicos Ltda. | 10M, 12.5M, 14M, 16M |

Technical List

z-1

July 12, 2023

z - Anchors, Expanding and Plate

DISTRIBUTION

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | Designated Maximum holding power-lbs. | 6,000 | 8,000 | 10,000 | 12,000 |
|  | Min. Area (sq. in.) | 90 | 100 | 120 | 135 |
|  | Rod Dia. (inch¾ | ¾ | 5/8 | ¾ | ¾ |
|  | Rod Length (feet) | 7 | 7 | 8 | - |
|  |  |  |  |  |  |  |
| Technical Acceptance Period | Manufacturer | Type |  |  |  |  |
|  |  |  |  |  |  |  |
| 7/2023 – 7/2024 | Powerline Hardware (Hobb) | 8-way | P8135 | P8135 | P8135 | P8135 |
|  |  |  |  |  |  |  |

NOTE: Where galvanized anchors are listed, the same anchors un-galvanized (black asphalt coated) are also acceptable.

Technical List

z-6

July 12, 2023

z - Anchors, Power-Installed Screw, Distribution

|  |  |  |  |
| --- | --- | --- | --- |
| Technical Acceptance Period | Manufacturer | Catalog Number | Rating (lbs.) |
|  |  |  |  |
| 7/2023 – 7/2024 | Powerline Hardware (Hobb) | P6524 | (see catalog) |
|  |  | P6526 |  |
|  |  | P6528 |  |
|  |  | P6550 |  |

Technical List

z-7

July 12, 2023

z - Anchors, No Wrench Screw

|  |  |  |  |
| --- | --- | --- | --- |
| Technical Acceptance Period | Manufacturer | Catalog Number | Rating (lbs.) |
|  |  |  |  |
| 7/2023 – 7/2024 | Powerline Hardware (Hobb) | P6524 | (see catalog) |
|  |  | P6526 |  |
|  |  | P6528 |  |
|  |  | P6550 |  |

**Technical List**

**aa,ab**

**October 17, 2023**

**aa – Nut, eye**

**ab – Nut, thimble eye**

|  |  |  |  |
| --- | --- | --- | --- |
|  |  | aa | ab |
| **Technical Acceptance Period** | Manufacturer | Oval eye nut5/8” | Oval eye nut3/4” | ThimbleEyelet | Thimble eye nut5/8” | Thimble eye nut3/4” |
|  |  |  |  |  |  |  |
| 9/2014 – 9/2015 | Cooper Power Systems | DG2E3 | - | DG6E1 | DG1E1 | - |
|  |  |  |  |  |  |  |
| 8/2023 – 8/2024 | GPP Solutions | U1092 | U1093 | U1126 | U6510 | - |
|  |  |  |  |  |  |  |
| 7/2023 – 7/2024 | Powerline Hardware (Hobb) | P1092 | P1093 | - | P6510 | P6511 |
|  |  |  |  |  |  |  |
| 10/2023 – 10/2024 | Hubbell (Chance) | - | 6503 | - | - | 6511 |
|  |  |  |  |  |  |  |
| 4/2020 – 4/2021 | Romagnole | R-1093 | R-1092 | - | R-12587 | - |
|  |  |  |  |  |  |  |
| 10/2021 – 10/2022 | Aluma-Form | AF1092 | AF1093 | - | - | - |

**Technical List**

**ac-1**

**April 2020**

**ac - Brace, sidearm diagonal**

|  |  |  |  |
| --- | --- | --- | --- |
|  |  |  |  |
| **Technical Acceptance Period** | Manufacturer | 1-1/2 inch angle 3/16" x 5' | 1-3/4 inch angle 3/16" x 7' |
|  |  |  |  |
| 4/2020 – 4/2021 | Romagnole | R-6984 | - |

**Technical List**

**ae-1**

**December 7, 2023**

**ae - Surge (lightning) Arrester, Distribution Class**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  |
| Technical Acceptance Period | Manufacturer | Type | Ratings, kV | Housing | Duty |
|  |  |  |  |  |  |
| **SiC Type** |
|  |  |  |  |  |  |
|  |  |  |  |  |  |
|  |  |  |  |  |  |
|  |  |  |  |  |  |
| **MOV Type** |
|  |  |  |  |  |  |
| 2/2018 – 2/2019 | Siemens Energy, Inc. | 3EK7 | 9-27 | Polymer | Normal |
|  |  | 3EK7 | 9-27 | Polymer | Heavy |
|  |  | 3EK8 | 3-36 | Polymer | Heavy |
|  |  | 3EK8 | 3-27 | Polymer | Riser Pole |
|  |  |  |  |  |  |
| 12/2023 – 12/2024 | Balestro/H-J | PROTÉGÉ+ | 9-27 | Polymer | Heavy |
|  |  |  |  |  |  |

**Technical List**

**ae-2**

**May 2016**

**ae – Surge Arrester, Substation\***

MOV Type

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Technical AcceptancePeriod | Manufacturer | Type | AcceptedRatings – kV | Housing | Manufacturer’sClassification |
|  |  |  |  |  |  |
|  |  |  |  |  |  |
| 5/2016 – 5/2017 | TE Connectivity | PBA | 3-192 | Polymer | Intermediate |
|  |  | PAA | 3-108 | Polymer | Intermediate |

\*For instructions concerning application at substations refer to RUS Bulletin 1724E-300, "Design Guide for Rural Substations." In the purchase of arresters, care should be taken to select the type and voltage rating in accordance with the line voltage and the type of construction (grounded or ungrounded).

(1) Energy ratings based on single impulse ratings.

(2) Meets Class H energy levels per IEEE Std C62.11™-2012 standard.

**Technical List**

**af-1**

**July 12, 2023**

**af - Cutouts, Distribution, Open**

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **Technical Acceptance Period** | Manufacturer | Catalog Number | Type | Voltage Rating |
|  |  |  |  |  |
| **5/13/2010 – 5/18/2011** | S & C Electric Co. | 89021R10 | XS | 15kV |
| 89032R10 | XS | 27kV |
|  |  |  |  |  |
|  |  |  |  |  |
| **11/4/2013 – 11/2014** | Hubbell Power Systems, Inc. |  | C-Polymer | 27kV |
|  |  |  | C-Polymer (load break) | 27kV |
|  |  |  |  |  |
| **7/2023 – 7/2024** | Powerline Hardware (Wenzhou Yikun Electric Co., Ltd.) |  | PLH-Porcelain | 15, 25, 27, 36kV |
|  | SIL-Polymer | 15, 24, 33-36kV |
|  |  |  |  |  |
| **3/2016 – 3/2017** | Utility Solutions, Inc. (Wenzhou Yikun Electric Co., Ltd.) | USCO-001 | Porcelain | 15kV |
| USCO-003 | Porcelain | 25kV |
| USCO-004 | Porcelain | 25kV |
| USCO-005 | Polymer | 15kV |
| USCO-007 | Polymer | 25kV |
| USCO-008 | Polymer | 25kV |

NOTE: The buyer should specify the load rating, voltage rating, interrupting rating and required accessories.

Cutouts used on underground riser poles should be loadbreak type or have hooks for portable load interrupters.

**Technical List**

**af(1)**

**April 2012**

**af – Cutouts, Distribution, Open**

with Linkbreak Attachment

|  |  |  |  |
| --- | --- | --- | --- |
| **Technical Acceptance Period** | Manufacturer | Type | VoltageRating |
|  |  |  |  |
| **4/2012 – 4/2013** | Hubbell Power Systsems, Inc. | C-Polymer | 27kV |
|  |  |  |  |
|  |  |  |  |

**Technical List**

**ah-1**

**June 26, 2023**

**ah – Tie, insulator, formed type**

|  |  |  |  |
| --- | --- | --- | --- |
| **Technical Acceptance Period** | **Manufacturer** | **Catalog Number** | **Type** |
|  |  |  |  |
| 6/2023 – 6/2024 | MacLean Power Systems | DT-AC | Top Tie-Formed |
|  |  | DWT | “Armorlock” top tie-formed |
|  |  | DST-A | Double top tie-formed |
|  |  | ST-A | Side tie-formed |
|  |  | DBST-AC | Double side tie-formed |
|  |  | QST-AC | “Quick” spool tie-formed |
|  |  | SPT | Spool tie-formed |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |

NOTES: All ties should be ordered for the specific conductor size and insulator type.

**Technical List**

**ai-1**

**January 24, 2024**

**ai - Rods, Ground, 13-mil**

Applicable Size: The standard length is 8 feet and catalog numbers listed below are for this length. Longer rods may be required for special conditions.

Copper-covered ground rods are listed with a **13-mil minimum** at any point and a 15-mil average covering of copper. All purchases should specify that a factory certification of the thickness of the copper must accompany the shipment of the rods.

Copper-covered steel rods

|  |  |  |  |
| --- | --- | --- | --- |
| Technical Acceptance Period |  | 5/8" | 3/4" |
|  |  |  |  |
| 7/2023 – 7/2024 | Powerline Hardware (Hobb) | PLH 588C | - |
|  |  |  |  |
| 1/2024 – 1/2025 | Kopell Grounding Systems Pvt., Ltd. | EN 58813EN 581013 | EN 34813EN 341013 |
|  |  |  |  |
| 3/2020 – 3/2021 | Handsun Industry General Co. (Priority Wire & Cable, INC) | HS58 8-15 | HS34 8-15 |
|  |  |  |  |
| 3/2020 – 3/2021 | TE Connectivity (Kopell) | CGR5808U13\*\* | CGR3408U13\*\* |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |

**Technical List**

**ai-2**

**July 12, 2023**

**ai - Rods, Ground**

Applicable Size: The standard length is 8 feet and catalog numbers listed below are for this length. Longer rods may be required for special conditions.

Hot Dip Galvanized Steel

|  |  |  |  |
| --- | --- | --- | --- |
| **Technical Acceptance Period** | Manufacturer | 5/8”  | ¾” |
|  |  |  |  |
| 4/2020 – 4/2021 | Romagnole | R-8578 | R-8618 |
| 7/2023 – 7/2024 | Powerline Hardware (Hobb) | PLH 588G | - |

NOTE: The 2007 National Electrical Safety Code requires that the diameter of galvanized ground rods be not less than 0.625 inch. Suppliers should not be providing galvanized ground rods with smaller diameters.

**Technical List**

**ai-3**

**January 24, 2024**

**ai - Rods, ground, sectional, 13-mil**

Galvanized Steel and Copper-Covered Steel

Copper-covered ground rods are listed with a **13-mil minimum** at any point and a 15-mil average covering of copper. All purchases should specify that a factory certification of the thickness of the copper must accompany the shipment of the rods. Rods are copper-covered unless marked galvanized steel.

Sectional Ground Rods

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Technical Acceptance Period | Manufacturer | 8' long  | 10' long  | Coupling | Driving studs |
|  |  |  |  |  |  |
| 1/2024 – 1/2025 | Kopell Grounding Systems Pvt., Ltd. | EN 58813-SC | EN 581013-SC | ENCO58 | ENDS58 |
|  |  | EN 34813-SC | EN 341013-SC | ENCO34 | ENDS34 |
|  |  |  |  |  |  |
| 3/2020 – 3/2021 | Handsun Industry General Co. (Priority Wire & Cable, INC) | HSS58 8-15 | HSS34 10-15 | - | - |
|  |  |  |  |  |  |
| 3/2023 – 3/2024 | Intelli | IHP834 | IHP1034 | LEH-34-R | - |
|  |  | IHP858 | IHP1058 | LEH-58-R | - |
|  |  | IH834 | IH1034 |  |  |
|  |  | IH858 | IH1058 |  |  |
|  |  |  |  |  |  |
| 3/2020 – 3/2021 | TE Connectivity (Kopell) | CGR5808S13\*\* | CGR5810S13\* |  |  |
|  |  | CGR3408S13\*\* | CGR3410S13\* |  |  |
|  |  |  |  |  |  |
| 3/2022 – 3/2023 | TE Connectivity |  |  | GRCU-58GRCU-34GRCS-58GRCS-34 |  |
|  |  |  |  |  |  |
|  |  |  |  |  |  |

NOTE: The 2007 National Electrical Safety Code requires that the diameter of galvanized ground rods be not less than 0.625 inch. Some suppliers may still be providing ground rods with smaller diameters.

**Technical List**

**ai-4**

**January 24, 2024**

**ai - Rods, Ground, 10-mil**

These copper-covered ground rods are listed with a **10-mil minimum** at any point. They must also be Underwriters Laboratory (UL) listed. All purchases should verify that rods have official UL mark.

Copper-covered steel

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Technical Acceptance Period | Manufacturer | 5/8” x 8' | ¾” x 8’ | 5/8” x 10’ | ¾” x 10’ |
|  |  |  |  |  |  |
| 1/2024 – 1/2025 | Kopell Grounding Systems Pvt., Ltd. | EN 588 | EN 348 | EN 5810 | EN 3410 |
| 7/2023 – 7/2024 | Powerline Hardware (Hobb) | PLH-588C 10MIL | - | - | - |

**Technical List**

**ai-5**

**January 24, 2024**

**ai - Rods, ground, sectional, 10-mil**

Galvanized steel and Copper-covered steel

Copper-covered ground rods are listed with a **10-mil minimum** at any point. They must also be Underwriters Laboratory (UL) listed. All purchases should verify that rods have official UL mark. Rods are copper-covered unless marked galvanized steel.

Sectional Ground Rods

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| Technical Acceptance Period | Manufacturer | Rod | Coupling | Driving studs |
|  |  | 5/8” x 8' | ¾” x 8’ | 5/8” x10' | ¾” x 10’ | 5/8” | ¾” | 5/8” | ¾” |
|  |  |  |  |  |  |  |  |  |  |
| 1/2024 – 1/2025 | Kopell Grounding Systems Pvt., Ltd. | ENS 588 | ENS 348 | ENS 5810 | ENS 3410 | ENCO58 | ENCO34 | ENDS58 | ENDS34 |
|  |  |  |  |  |  |  |  |  |  |
| 3/2022 – 3/2023 | TE Connectivity |  |  |  |  | GRCU-58 | GRCU-34 |  |  |
|  |  |  |  |  |  | GRCS-58 | GRCS-34 |  |  |
|  |  |  |  |  |  |  |  |  |  |

NOTE: The diameter of all galvanized ground rods must meet the latest edition of the National Electrical Safety Code (NESC).

**Technical List**

**aj-1**

**March 5, 2023**

|  |
| --- |
| **aj - Clamp, Ground Rod** |
|  |  |  |  |  |
| **Technical Acceptance Period** | Manufacturer | For 5/8" Copper-Covered Rod | For 3/4" Galv.or Stainless Steel Rod | For 5/8" Galv.or Stainless Steel Rod |
|  |  |  |  |  |
| 5/2023 – 5/2024 | Powerline Hardware (Hobb) | P58 | - | P58 |
|  |  |  |  |  |
| 11/2020 – 11/2021 | TE Connectivity | TGRL58 |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |

**Technical List**

**al-1**

**December 15, 2020**

**al - Staples, ground wire**

Applicable Specification: ANSI C135.14, "Standards for Staples with Rolled or Slash Points"

 16 gauge Standard ½”, 15/16” Crown Staples

 18 gauge Standard 3/8” Crown Staples

|  |  |
| --- | --- |
|  |  |
| Technical Acceptance Period | Manufacturer |
|  |  |
|  | Paslode |
| 12/2020 – 12/2021 | 2.50mm Series |
|  | 3.15mm Series |
|  | 4.50mm Series |
|  | 5.00mm Series |
|  |  |
|  |

**Technical List**

**an-1**

**February 2012**

|  |  |
| --- | --- |
|  | **an – Transformers, distribution, Pole type** |
|  | Primary Voltage 7.62/13.2 kV |
|  |  |  |  |
|  | Applicable Specification: IEEE C57.12.90 “Standard Test Code for Liquid-Immersed Transformers” |
|  |  |  |  |  |  |
|  |  |  |  |  |  |
| **Technical Acceptance Period** | Manufacturer | Type | Primary Bushings | Primary Voltage (kV) | Rating (kVA) |
|  |  |  |  |  |  |
| **2/2012 – 2/2013** | Magnetron, S.A. | conventional | two | 13.2/7.6–5 - 500 |
|  |  |  |  |  |  |
|  |  |  |  |  |  |

**Technical List**

**ao-1**

**August 16, 2023**

**ao - Bolt, strand eye, straight (thimble eye)**

Applicable Specification: ANSI C135.4, "Standards for Galvanized Ferrous Eye Bolts and Nuts for Overhead Line Costruction."

Applicable Sizes: 5/8 inch, 6 through 12 inch length 3/4 inch, 8 through 12 inch length

The following manufacturers have shown compliance with the applicable specification:

|  |  |
| --- | --- |
| **Technical Acceptance Period** | Manufacturer |
|  |  |
| 8/2023 – 8/2024 | GPP Solutions |
| 4/2020– 4/2021 | Romagnole |
|  |  |
|  |  |

**Technical List**

**ap-1**

**December 11, 2020**

**ap – Clamp, hot line**

Copper and Copperweld-copper Conductor

(Clamps with internal springs and enclosed threads)

|  |  |  |
| --- | --- | --- |
| Technical AcceptancePeriod | Conductor | Conductor Size |
|  | Copper: | 6 thru 2/0 |
|  | Copperweld-copper: | 8A thru 2A |
|  |  |
|  | Manufacturer |  |
|  |  |  |
| 12/2020 – 12/2021 | Connector Mfg. Co. | HLB2/0HLB2/0THLB2/0LDHLB2/0LDT |
|  |  |  |

**Technical List**

**ap-2**

**February 15, 2024**

**ap – Clamp, hot line**

ACSR with armor rods

Clamps listed below have spring action and enclosed thread chambers.

|  |  |  |
| --- | --- | --- |
|  |  | Conductor Size |
| Technical Acceptance Period | Manufacturer | Tap Conductor | 477 & 336.4 | 4/0 & 3/0 | 2/0 | 1/0 & 2 | 4 |
|  |  |  |  |  |  |  |  |
| 5/2023 – 5/2024 | Powerline Hardware | Aluminum | P1530AGP | P1520AGP | P1520AGP | P1520AGP | P1520AGP |
|  |  | Copper | P1530CC | P1530AGP | P1530AGP | P1530AGP | P1530AGP |
|  |  |  |  | P1520CC | P1520CC | P1520CC | P1520CC |
|  |  |  |  | P1530CC | P1530CC | P1530CC | P1530CC |
| 12/2020 – 12/2021 | Connector Mfg. Co. | Aluminum |  | HL4/0 | HLA2/0 | HLA2/0 | HLA2/0 |
|  |  |  |  |  | HLA2/0T | HLA2/0T | HLA2/0T |
|  |  |  |  |  |  |  |  |
|  |  | Copper |  | HLB400 | HLB2/0 | HLB2/0 | HLB2/0 |
|  |  |  |  | HLB400T | HLB2/0T | HLB2/0T | HLB2/0T |
|  |  |  |  |  | HLB2/0LD | HLB2/0LD | HLB2/0LD |
|  |  |  |  |  | HLB2/0LDT | HLB2/0LDT | HLB2/0LDT |
|  |  |  |  |  |  |  |  |
| 7/2022 – 7/2023 | TE Connectivity | Aluminum |  | THLA | THLA | THLA | THLA |
|  |  | Copper |  | THLB | THLB | THLB | THLB |
|  |  |  |  |  |  |  |  |

**Technical List**

**as-1**

**August 16, 2023**

**as – Clevis, service swinging**

Applicable Specifications "RUS Specifications for Service Swinging Clevis," D-7

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **Technical Acceptance Period** | Manufacturer | Clevis Only\* | Clevis with Wet Process Spool | Clevis with Dry Process Spool |
|  |  |  |  |  |
| 8/2023 – 8/2024 | GPP Solutions | U1614 | - | - |
|  |  |  |  |  |
| 2/2014 – 2/2015 | Milano | 257 | - | - |
|  |  |  |  |  |
| 9/2014 – 9/2015 | Cooper Power Systems | DC7S2 | - | - |
|  |  |  |  |  |
|  |  |  |  |  |

\*Catalog number does not include spool; for spool insulators see Item cm.

**Technical List**

**av-1**

**March 22, 2024**

**av – Conductor, ACSR**

Applicable Specification: ASTM Specification B 232

Preferred Sizes:

|  |  |
| --- | --- |
| Distribution | Transmission |
| 4 – 6/1 | 1/0 – 6/1 |
| 4 – 7/1 | 2/0 – 6/1 |
| 2 – 6/1 | 3/0 – 6/1 |
| 2 – 7/1 | 4/0 – 6/1 |
| 1/0 – 6/1 | 266.8 kcmil – 26/7 |
| 2/0 – 6/1 | 336.4 kcmil – 26/7 |
| 3/0 – 6/1 | 477 kcmil – 26/7 |
| 4/0 – 6/1 | 556.5 kcmil – 26/7 |
| 266.8 kcmil 18/1 | 795 kcmil – 26/7 |
| 336.4 kcmil 18/1 | 954 kcmil – 54/7 |
| 477 kcmil 18/1 |  |

NOTE: Larger sizes may be used where the engineer’s study shows they are required.

The following manufacturers have shown compliance with the applicable specifications:

|  |  |
| --- | --- |
| **Technical Acceptance Period** | Manufacturer |
|  |  |
| **8/2014 – 8/2015** | American Furukawa, Inc. |
| **3/2024 – 3/2025** | Apar Industries, Ltd. |
| **7/2023 – 7/2024** | Coreal  |
| **5/2018 – 5/2019** | Jiangsu Zhongtian Technology Co., Ltd (ZTT) |
| **6/2023 – 6/2024** | JSK Industries Pvt. Ltd. |
| **10/2023 – 10/2024** | Shanghai Silin Special Equipment Co., Ltd. (Priority Wire & Cable, INC) |
| **9/2015 – 9/2016** | Sterlite Technologies Limited |
| **4/2016 – 4/2017** | Sunni Electric Wire & Cable Co., Ltd. |

NOTES:

1. Conductors with 18/1 stranding have different sag characteristics than conductors with 6/1 or 26/7 stranding. This difference in sag characteristics must be taken into consideration in the line design.
2. 266.8 kcmil 26/7, 336.4 kcmil 26/7, and 477 kcmil 26/7 may be used for distribution underbuild on transmission lines.

**Technical List**

**av-2**

**June 2013**

**av - Conductor, copper**

Applicable Specifications: ASTM Specification B1 for hard-drawn solid

ASTM Specification B8 for hard drawn stranded and soft stranded

ASTM Specification B3 for soft or annealed solid

Preferred Sizes: Hard-drawn solid - 4 and 6

Soft or annealed solid - 4 and 6

Hard-drawn stranded - 2x3, 1/0 x 7, 2/0 x 7

Soft stranded - 4 and 6

The following manufacturers have shown compliance with the applicable specifications:

|  |  |
| --- | --- |
| **Technical Acceptance Period** | Manufacturer |
|  |  |
|  |  |

**Technical List**

**av-4**

**October 16, 2023**

**av - Conductor, Service**

(Single conductor)

|  |  |  |  |
| --- | --- | --- | --- |
| **Technical Acceptance Period** | Manufacturer | Aluminum | Copper |
|  |  |  |  |
| **10/2023 – 10/2024** | Shanghai Silin Special Equipment Co., Ltd. (Priority Wire & Cable, INC) | X | - |
|  |  |  |  |
| **10/2023 – 10/2024** | Xiantong Wire and Cable Co., Ltd. (Priority Wire & Cable, INC) | X | - |
|  |  |  |  |
| **4/2016 – 4/2017** | Sunni Electric Wire & Cable Co., Ltd. | X | - |
|  |  |  |  |
|  |  |  |  |

Applicable Specification: ICEA S-95-658 / NEMA WC70

Insulation: Cross-linked thermosetting polyethylene or equal.

Conductor: MHD copper or HD (Aluminum 1350) aluminum (Compact or compressed stranded conductor is acceptable.)

Marking: Manufacturer's name and type of insulation shall be clearly shown in durable markings on the surface of the insulation at intervals no greater than 24 inches.

**Technical List**

**av-5**

**October 16, 2023**

**av - Conductor, Service Cable**

(Triplex and Quadruplex)

|  |  |  |  |
| --- | --- | --- | --- |
| **Technical Acceptance Period** | Manufacturer | Aluminum | Copper |
|  |  |  |  |
| 7/2023 – 7/2024 | Coreal  | X | - |
|  |  |  |  |
| 1/2023 – 1/2024 | Interamericana de Cables VenezuelaS.A. (ICV, S.A.) | X | - |
|  |  |  |  |
| 10/2023 – 10/2024 | Shanghai Silin Special Equipment Co., Ltd. (Priority Wire & Cable, INC) | X | - |
|  |  |  |  |
| 10/2023 – 10/2024 | Xiantong Wire and Cable Co., Ltd. (Priority Wire & Cable, INC) | X | - |
|  |  |  |  |
| 4/2016 – 4/2017 | Sunni Electric Wire & Cable Co., Ltd. | X | - |
|  |  |  |  |
| 6/2023 – 6/2024 | Sierra Cables PLC | X | - |
|  |  |  |  |

Applicable Specifications: RUS Specification D-2, Specifications for 600 Volt Neutral-Supported
 Secondary Service Drop Cables.

**Technical List**

**av-6**

**March 22, 2024**

**av – Conductor, Aluminum Alloy (AAAC)**

Applicable Specification: ASTM Specification B399

Preferred Sizes:

|  |  |
| --- | --- |
| DISTRIBUTION | TRANSMISSION |
| 6201 | ACSR Equiv. | 6201 | ACSR Equiv. |
|  |  |  |  |
| 48,690 cmil – 7 str.\* | 4 | 123,300 cmil – 7 str.\*\* | 1/0 |
| 77,470 cmil – 7 str.\* | 2 | 155,400 cmil – 7 str.\*\* | 2/0 |
| 123,300 cmil – 7 str. | 1/0 | 195,700 cmil – 7 str.\*\* | 3/0 |
| 155,400 cmil – 7 str. | 2/0 | 246,900 cmil – 7 str. | 4/0 |
| 195,700 cmil – 7 str. | 3/0 | 312,800 cmil – 19 str. | 266,800 cmil |
| 246,900 cmil – 7 str. | 4/0 | 394,500 cmil – 19 str. | 336,400 cmil |
|  |  | 559,500 cmil – 19 str. | 477,000 cmil |
|  |  | 652,400 cmil – 19 str. | 556,500 cmil |
|  |  | 927,200 cmil – 37 str. | 795,000 cmil |
|  |  |  |  |

\*Not recommended for multiphase lines with span lengths exceeding 300 ft.

\*\*Not recommended for suspension type construction.

The following manufacturers have shown compliance with the applicable specifications:

|  |  |  |
| --- | --- | --- |
| **Technical Acceptance Period** | Manufacturer | Type |
|  |  |  |
| **6/2014 – 6/2015** | American Furukawa, Inc. | 6201 |
| **3/2024– 3/2025** | Apar Industries, Ltd. | 6201 |
| **7/2023 – 7/2024** | Coreal  | 6201 |
| **6/2023 – 6/2024** | JSK Industries Pvt. Ltd. | 6201 |
| **10/2023 – 10/2024** | Shanghai Silin Special Equipment Co., Ltd. (Priority Wire & Cable, INC) | 6201 |
| **9/2015 – 9/2016** | Sterlite Technologies Limited |  |
| **4/2016 – 4/2017** | Sunni Electric Wire & Cable Co., Ltd. | 6201 |

**Technical List**

**av(1)**

**March 22, 2024**

**av - conductor**

|  |  |  |
| --- | --- | --- |
| **Technical Acceptance Period** | Manufacturer | Conditions |
|  |  |  |
| 6/2015 – 6/2016 | American Furukawa, Inc.ACSS/TW conductors using preferred conductor sizes. | 1. To obtain experience.2. Conductor handling and installation shall be in accordance with manufacturer's recommendations.3. Indicate type of steel core wire and class (if applicable) of coating. |
|  |  |  |
| 3/2024 – 3/2025 | Apar Industries, Ltd. ACSS/TW conductors using preferred conductor sizes. | 1. To obtain experience.2. Conductor handling and installation shall be in accordance with manufacturer's recommendations.3. Indicate type of steel core wire and class (if applicable) of coating. |

**Technical List**

**av(5)**

**March 22, 2024**

**av – Conductor, Twisted Pair (T-2 & VR type)**

Preferred Conductor Sizes(equivalent in diameter to the following ACSR conductors)\*

Transmission Lines

 336.4 kcmil - 26/7

477 kcmil - 26/7

 556.5 kcmil - 26/7

795 kcmil - 26/7

954 kcmil - 54/7

1272 kcmil - 54/19

**T-2 type (ACSR-II)**

Aluminum Conductor Steel Reinforced- Twisted Pair

ACSR or AAAC (6201)

|  |  |  |
| --- | --- | --- |
| Technical Acceptance Period | Manufacturer | Conditions |
|  |  |  |
| 5/2021 – 5/2022 | Shanghai Silin Special Equipment Co., Ltd. (Priority Wire & Cable, INC) | 1. To obtain experience.2. Conductor handling and installation shall be in accordance with manufacturer's recommendations.3. Use accessories recommended by the manufacturer and accepted by RUS. |
|  |  |  |
| 3/2024 – 3/2025 | Apar Industries, Ltd. | 1. To obtain experience.2. Conductor handling and installation shall be in accordance with manufacturer's recommendations.3. Use accessories recommended by the manufacturer and accepted by RUS. |
|  |  |  |

**VR-2 type**

Aluminum Conductor Steel Reinforced- Twisted Pair

ACSR or AAAC (6201)

Vibration Damping

|  |  |  |
| --- | --- | --- |
| Technical Acceptance Period | Manufacturer | Conditions |
|  |  |  |
| 5/2021 – 5/2022 | Shanghai Silin Special Equipment Co., Ltd. (Priority Wire & Cable, INC) | 1. To obtain experience.2. Conductor handling and installation shall be in accordance with manufacturer's recommendations.3. Use accessories recommended by the manufacturer and accepted by RUS |
|  |  |  |

NOTES:

1. Larger sizes may be used where the engineer's study shows they are required.
2. Conductor diameter should be within 10% of ACSR equivalent diameter size.

**Technical List**

**aw-1**

**August 16, 2023**

**aw – Washer, spring**

Clip

1/4” x 1-3/4” x 3-1/2”

|  |  |  |
| --- | --- | --- |
|  |  | Bolt Size |
| Technical AcceptancePeriod | Manufacturer | 5/8” | 3/4” | 7/8” |
|  |  |  |  |  |
| 3/2015 – 3/2016 | Cooper Power Systems | DF17W3 | DF17W4 | - |
| 8/2023 – 8/2024 | GPP Solutions | U3540 | U3541 | - |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |

**Double Coil Lock**

|  |  |  |
| --- | --- | --- |
|  |  | Bolt Size |
| Technical AcceptancePeriod | Manufacturer | 5/8" | 3/4" | 7/8" | 1” |
|  |  |  |  |  |  |
| 5/2022 – 5/2023 | GPP Solutions | U177 | - | - | - |
|  |  |  |  |  |  |
|  |  |  |  |  |  |
|  |  |  |  |  |  |
|  |  |  |  |  |  |
|  |  |  |  |  |  |

**Technical List**

**ax-1**

**April 2012**

**ax - Cutout and Arrester, Combination**

|  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  |  |  |  |  |
|  | Nominal System Voltage | For 12.5Y/7.2 kV |  | For 13.2Y/7.6 kV | For 24.9Y/14.4 kV |
|  | Cutout Max. Voltage Rating | 7.8 kV |  | 15 kV   | 15 kV |  | 18 kV   | 27 kV  |
|  |  |  |  |  |  |  | 3ø Bank |  | 3ø Bank |
|  | Application |  |  |  | 3ø Bank |  | 3ø Sect. |  | 3ø Sect. |
|  |  |  | 1ø Trans. | 1ø Sect. | 3ø Sect. | 1ø Trans. | 1ø Sect. | 1ø Trans. | 1ø Sect. |
|  | Cutout Current Rating | 50\* | 100 | 100 | 50\* | 100 | 50\* | 100 |
| Technical Acceptance Period | Manufacturer | TypeMounting | Catalog Numbers |
|  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |
| **4/2012 – 4/2013** | Hubbell Power Systems, Inc. | Crossarm | - | - | - | - | - | - | CP7 Series (Polymer) |
|  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |

Either normal duty or heavy duty distribution class arresters listed on page ae-1 are acceptable for use with these combination units.

\*These cutouts have open links and must not be used where fault currents are high or for sectionalizing.

(L) Indicates loadbreak type is available.

**Technical List**

**ba-1**

**August 16, 2023**

**ba - Bolt, Angle Eye**

Thimble Type

Applicable Specification: ANSI C135.4, "Standards for Galvanized Ferrous Eye Bolts and Nuts for Overhead Line Construction"

Applicable Sizes : 5/8 inch, 6 through 12 inch length

 3/4 inch, 8 through 12 inch length

The following manufacturers have shown compliance with the applicable specifications:

|  |  |
| --- | --- |
| **Technical Acceptance Period** | Manufacturer |
|  |  |
| 8/2023 – 8/2024 | GPP Solutions |
| 4/2020 – 4/2021 | Romagnole |

**Technical List**

**bb-1**

**April 2020**

**bb - Brace, sidearm vertical**

|  |  |  |  |
| --- | --- | --- | --- |
| **Technical Acceptance Period** | Manufacturer | 26" brace24" bolt-hole spacing | 50" brace24" bolt-hole spacing |
|  |  |  |  |
| 4/2020 – 4/2021 | Romagnole | - | R-1508 |

**Technical List**

**be-1**

**November 23, 2021**

**be - Recloser, vacuum interruption with solid dielectric**

|  |  |
| --- | --- |
| Technical Acceptance Period | Manufacturer |
|  |  |
|  | Tavrida |
| 11/2021 – 11/2022 | Three phase, OSM15/OSM25 Series\*, vacuum interruption, solid dielectric, dual rated 15.5kV/27kV, 800 amps maximum continuous, 16000 amps RMS symmetrical interruption for 15.5kV applications and 12500 amps RMS symmetrical interruption for 27kV applications, 27 kV maximum for 24.9/14.4 kV. |
|  |  |
| 11/2021 – 11/2022 | Three phase or single phase, OSM35\_Smart\_4(XXXX), vacuum interruption, solid dielectric, 38kV, 1250 amps maximum continuous, 16000 amps RMS symmetrical interruption. |
|  |  |

NOTES:

1. Series trip reclosers with ratings greater than 100 amp for 12.5/7.2 kV application, greater than 200 amp for 24.9/14.4 kV application, and 280 amp for 34.5/19.9 kV application are acceptable only with ground trip device. Shunt trip reclosers without ground trip devices may not be used with trip settings higher than 200 amp for 12.5/7.2 kV application, greater than 400 amp for 24.9/14.4 kV application, and 560 amp for 34.5/19.9 kV application.
2. Reclosers are not acceptable with load current, bushing CT battery chargers.
3. \* These units are compatible with multiple control modules.

**Technical List**

**bh-1**

**August 16, 2023**

**bh - Clevis, Service Deadend**

Applicable Specification: "RUS Specification for Service Deadend Clevises" D-8

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| Technical Acceptance Period | Manufacturer | Clevis Only\* | Clevis with dryprocess spool | Clevis with wetprocess spool |
|  |  |  |  |  |
| 8/2023 – 8/2024 | GPP Solutions | U0313 | - | - |
| 2/2014 – 2/2015 | Milano | 252 | - | - |
| 9/2014 – 9/2015 | Cooper Power Systems | DC3F1DC2C1 | - | - |
| 5/2023 – 5/2024 | Powerline Hardware | P093 |  |  |
|  |  | P0313 |  |  |
|  |  | P1300 |  |  |
|  |  | P1399 |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |

\*Catalog number does not include spool; for spool see Page cm.

**Technical List**

**bj-1**

**August 16, 2023**

bj - Guy Hook

Applicable Specification: Edison Electric Institute Specification TD-11- 1951, "Specifications for Guy Hooks and Guy Strain Plates."

|  |  |  |
| --- | --- | --- |
| Technical Acceptance Perod | Manufacturer | Catalog # |
|  |  |  |
| 8/2023 – 8/2024 | GPP Solutions | DGH6X |

**Technical List**

**bo-1**

**August 16, 2023**

bo - Shackle, anchor

Distribution

|  |  |  |
| --- | --- | --- |
|  |  |  |
|  |  | 20,000 lbs. |
| Technical Acceptance Period | Manufacturer | 5/8" Pin |
|  |  |  |
| 8/2023 – 8/2024 | GPP Solutions | U2742 |
|  |  |  |
|  |  |  |
|  |  |  |
|  |  |  |
|  |  |  |
|  |  |  |
|  |  |  |
|  |  |  |
|  |  |  |

Transmission

|  |  |  |  |
| --- | --- | --- | --- |
|  |  |  |  |
|  |  | 30,000 lbs. | 50,000 lbs. |
| Technical Acceptance Period | Manufactuer | 3/4" bolt | 7/8" bolt |
|  |  |  |  |
| 8/2023 – 8/2024 | GPP Solutions | UAS35-BNC | UAS50-BNC |
|  |  |  |  |

Technical List

br-1

August 16, 2023

br – Chain Link (End Link)

|  |  |  |
| --- | --- | --- |
| Technical Acceptance Period | Manufacturer | Catalog Number |
|  |  |  |
| 8/2023 – 8/2024 | GPP Solutions | CLK-40 |
|  |  |  |
|  |  |  |
|  |  |  |
|  |  |  |
|  |  |  |
|  |  |  |
|  |  |  |
|  |  |  |
|  |  |  |

**Technical List**

**bs-1**

**August 16, 2023**

**bs – Bolt, single upset**

Applicable Specifications: “RUS Specifications for Single Upset Spool Bolts,” D-5

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **Technical Acceptance Period** | Diameter, inches: | 5/8 | 5/8 | 5/8 | 5/8 |
|  | Length, inches: | 7 | 8 | 9 | 10 |
|  |  |  |  |  |  |
| 8/2014 – 8/2015 | Cooper Power Systems | - | - | DC2E4 | DC2E5 |
| 8/2023 – 8/2024 | GPP Solutions | - | - | - | U2344-1/2 |
| 4/2020 – 4/2021 | Romagnole | - | R-2342 | R-2343 | R-2344 |

**Technical List**

**bv-1**

**July 12, 2023**

|  |
| --- |
| **bv - Rods, armor**(includes standard, double insulator, and tapping rods) |
| **Technical Acceptance Period** | **MANUFACTUER** | **CATALOG #** |
|  |  |  |
|  | Aluminum or aluminum alloy rods for use on ACSR |
|  |  |  |
| 7/2023 – 7/2024 | Mosdorfer NA, Inc. | AAR 0309, AAR 0390, AAR 0437, AAR 0846 |
|  |  |  |
| 6/2023 – 6/2024 | MacLean Power Systems | AR-A 0.244, AR-A 0.309, AR-A 0.390, AR-A 0.437, AR-A 0.552 |
|  |  |  |
|  |  |  |
|  |  |  |
|  | Copperweld rods for copper or CWC conductor |
|  |  |  |
|  |  |  |
|  |  |  |
|  |  |  |
|  |  |  |
|  |  |  |
|  | Alumoweld rods for aluminum clad steel (Alumoweld)overhead ground wire |
|  |  |  |
|  |  |  |
|  |  |  |

Technical List

bx-2

August 16, 2023

bx - Splice, automatic

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Technical Acceptance Period | Manufacturer | Catalog # | AAC  | AAAC | ACSR |
|  |  |  |  |  |  |
| 3/2018 – 3/2019 | Powerline Hardware (Hobb) | PLH-42 | #2 - #4 | #2 - #4 | #2 - #4 |
|  | PLH-1020 | 1/0 - 2/0 | 1/0 - 2/0 | 1/0 - 2/0 |
|  | PLH-266336 | 266-336 | 312.8 | 336 (18/1), 266 (26/7) |
|  | PLH-397477 | 397-477 | 394.5 | 397-477 (18/1) |
|  |  |  |  |  |  |
| 8/2023 – 8/2024 | GPP Solutions | ALLS-4 | #4 | #4 | #4 |
|  |  | ALLS-40 |  |  |  |
|  |  | ALLS- 477-556 | 559.5 | 556.5 | 477 (26/7) |
|  |  |  |  |  |  |
|  |  |  |  |  |  |
|  |  |  |  |  |  |
|  |  |  |  |  |  |

**Technical List**

**by-1**

**June 26, 2023**

**by - Deadend, automatic and formed Type**

ACSR

|  |  |  |
| --- | --- | --- |
| **Technical Acceptance Period** | Manufacturer | Catalog Number |
|  |  |  |
| **11/2011 – 11/2012** | Utility Standard (HD Supply, Inc.) | USDG 4542 |
|  |  |  |
| **6/2023 – 6/2024** | MacLean Power Systems | DG-AC4541, DG-AC4542, DG-AC4544, DG-AC4545, DG-AC4546, DG-AC4547, DG-AC4548, DG-AC4549, DG-AC4550, DG-AC4551, DG-AC4552, DG-AC4553 |
|  |  |  |

**Technical List**

**ci-1**

**August 16, 2023**

**ci - Clevis, thimble**

|  |  |  |
| --- | --- | --- |
|  |  | Rated Strength |
| Technical Acceptance Period | Manufacturer | 20,000 lbs. | 40,000 lbs. | 50,000 lbs. |
|  |  |  |  |  |
| 8/2023 – 8/2024 | GPP Solutions | CT88 | TC40 | - |

**Technical List**

**cm-1**

**December 7, 2023**

**cm – Insulator, Spool**

|  |  |  |  |
| --- | --- | --- | --- |
|  |  | Secondary | Service |
|  | Type: | (Wet Process)  | Wet Process | Dry Process |
|  |  |  |  |  |  |
|  | Groove Diameter: | 1-3/4” | 3” | 1-3/8” | 1-3/8” |
|  | ANSI Class: | 53-2 | 53-4 | 53-1 | NA |
| **Technical Acceptance Period** |  |  |  |  |  |
|  |  |  |  |  |  |
| Sept 2018 – Sept 2019 | Action Manufacturing | AMl-532G | AMI-534G | AMl-531G | - |
|  |  |  |  |  |  |
| Oct 2013 – Oct 2014 | Ceramica Santa Terezinha S.A. (CST) | CST-1108 | - | CST-1101 | - |
|  |  |  |  |  |  |
| Jul 2017 – Jul 2018 | MacLean Power Systems | DP53-2 | - | DP53-1 | - |
|  |  |  |  |  |  |
| Dec 2023 – Dec 2024 | Newell-PSN, LLC | 2335320 | - | 2335310 | - |
|  |  |  |  |  |  |
| Dec 2023 – Dec 2024 | Newell-PSN, LLC (Mustang Electric Power Products, Inc.) | SIP532 | - | SIP531 | - |
|  |  |  |  |  |  |
| Mar 2020 – Mar 2021 | Fujian Hoshing Prosper Electrical Porcelain, Co., Ltd. | FHP3532G | - | FHP3531G | - |
|  |  |  |  |  |  |
| Jul 2023 – Jul 2024 | Powerline Hardware | P53-2G | P53-4G | P53-1G | - |
|  |  |  |  |  |  |
| Mar 2023 – Mar 2024 | PPC Insulators | 5101 | 5119 | 5112 | - |
|  |  |  |  |  |  |
| Sept 2021 – Sept 2022 | Vanguard Electric, LLC | 53-2 SG1 | 53-4 SG1 | 53-1 SG1 | - |
|  |  |  |  |  |  |

**Technical List**

**cs-1**

**August 16, 2023**

**cs - Bracket, Pole Top Pin**

For Transmission and 24.9/14.4 kV Distribution

Applicable Specifications: "RUS Specifications for Pole Top Brackets for Channel Type Pins," D-14

|  |  |  |
| --- | --- | --- |
| **Technical Acceptance Period** | Manufacturer | Catalog Number |
|  |  |  |
| 4/2020 – 4/2021 | Romagnole | R-2157 |
| 8/2023 – 8/2024 | GPP Solutions | U2157 |
|  |  |  |

**Technical List**

**cu-1**

**October 17, 2023**

**cu – Brace, crossarm, 26-inch (side-mounted)**

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **Technical Acceptance Period** | Manufacturer . | Douglas Fir orSouthern Yellow Pine | Apitong | Fiber Reinforced Plastic |
|  |  |  |  |  |
| 10/2023 – 10/2024 | Hubbell Power Systems |  | PSCAF626 | - |

Note: Braces listed above have 26-inch hole spacing. They are to be used in place of the flat steel braces previously listed on page h.

**cu – Brace, crossarm, 60-inch (underarm)**

|  |  |  |  |
| --- | --- | --- | --- |
|  | Span, inches: | 60 | 60 |
|  | Drop, inches: | 18 | 30 |
| **Technical Acceptance Period** | Manufacturer . |  |
|  |  |  |  |
| 10/2023 – 10/2024 | Hubbell Power Systems | PSCRA6018 | PSCRA6030 |
| 3/2016 – 3/2017 | MacLean Power Systems | CRBR-35\* | - |

\*Denotes Fiber Reinforced Plastic, all others are wood.

Technical List

cz-1

August 16, 2023

cz - Splice for Steel Strand (Overhead Ground Wire)

Compression

Single Sleeve Only

|  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  |  |  |  |  |
| Technical Acceptance Period | Manufacturer | High Strength Steel | Extra High Strength | Aluminum Clad Steel |
|  |  | 3/8" | 7/16" | 5/16" | 3/8" | 7/16" | 7 No. 9 AWG | 7 No. 8 AWG | 7 No. 7 AWG |
|  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |
| 8/2023 – 8/2024 | GPP Solutions | AGS38 | AGS716 | AGS516U | AGS38U | AGS716U | - | - | - |
|  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |

**Technical List**

**da-1**

**August 16, 2023**

**da - Bracket, insulated**

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| Technical Acceptance Period | Manufacturer | Bracket withoutInsulator | Bracket with 1-3/4” Spool Insulator | Bracket with 3” Spool Insulator |
|  |  |  |  |  |
| 8/2023 – 8/2024 | GPP Solutions | U1300 | - | - |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |

**Technical List**

**dt-1**

**July 12, 2023**

**dt - Deadend, service**

For deadending triplex type service cable, Drawing K2.2.

|  |  |  |  |
| --- | --- | --- | --- |
|  |  |  | Catalog Number |
| **Technical Acceptance Period** | Manufacturer | ACSR Size | Wedge Type | Formed Type |
|  |  |  |  |  |
| **11/2015 – 11/2016** | Hubbell (Fargo) | #6 - #2  | SW7195 | - |
|  |  | #4 - 1/0  | SW7187 | - |
|  |  | 2/0 - 4/0  | SW7197 | - |
|  |  |  |  |  |
| **6/2023 – 6/2024** | MacLean Power Systems | #6  | - | HSG-4500 |
|  |  | #4 | - | HSG-4501 |
|  |  | #4 | - | HSG-4502 |
|  |  | #3 | - | HSG-4503 |
|  |  | #2 | - | HSG-4504 |
|  |  | #1 | - | HSG-4505 |
|  |  | 1/0 | - | HSG-4506 |
|  |  | 2/0 | - | HSG-4507 |
|  |  | 3/0 | - | HSG-4508 |
|  |  | 4/0 | - | HSG-4509 |
|  |  |  |  |  |
| **7/2023 – 7/2024** | Mosdorfer NA, Inc. | 4 | - | SG 0257 |
|  |  | 2 | - | SG 0325 |
|  |  | 1/0 | - | SG 0400 |
|  |  | 2/0 | - | SG 0450 |
|  |  | 3/0 | - | SG 0510 |
|  |  | 4/0 | - | SG 0580 |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  |  |  |  |

**Technical**

**du-1**

**October 2015**

**du - Link, Extension**

DISTRIBUTION

|  |  |
| --- | --- |
| Manufacturer | Catalog Number |
|  |  |

TRANSMISSION

(25,000 lbs. min. strength)

|  |  |
| --- | --- |
| Manufacturer | Catalog Number |
| Preformed Line Products | LCE-66-14 |
|  |  |
|  |  |

Guy Extension Link

(For "H" Structure)

|  |  |  |
| --- | --- | --- |
| Manufacturer | One Guy Attachment | Two Guy Attachment |
|  |  |  |

NOTE: The distribution extension links may be substituted for anchor shackle (Item bo), eye bolt (Item o) and eye nut (Item aa) for both small and large conductor drawings shown in RUS Form 803 and RUS Bulletin 50-3 at the option of the owner.

**Technical List**

**du(1)**

**du - Connecting Links for Pole Bands**

Conditions - To obtain experience.in conjunction with pole bands [Item fv(1)]

For Use With Medium Duty Pole Bands

|  |  |  |  |
| --- | --- | --- | --- |
| Manufacturer | Link toInsulators | Size | MinimumStrength Rating |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |

|  |  |  |  |
| --- | --- | --- | --- |
|  | Link to Guy |  |  |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |

For Use With Heavy Duty Pole bands

|  |  |  |  |
| --- | --- | --- | --- |
| Manufacturer | Link toInsulators | Size | MinimumStrength Rating |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |

|  |  |  |  |
| --- | --- | --- | --- |
|  | Link to Guy |  |  |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |
|  |  |  |  |

**Technical List**

**dy-1**

**April 2020**

**dy – Bolt, eye, double arming**

Applicable Specification: ANSI C135.4, “Standards for Galvanized Ferrous Eye Bolts and Nuts for Overhead Line Construction.”

Applicable Sizes 5/8 inch, 14 through 26 inch length

 3/4 inch, 14 through 26 inch length

The following manufacturers have shown compliance with the applicable specifications:

|  |  |
| --- | --- |
| **Technical Acceptance Period** | Manufacturer |
|  |  |
| 4/2020 – 4/2021 | Romagnole |
| 4/2020 – 4/2021 | Aluma-Form |
|  |  |

**Technical List**

**ea-1**

**December 7, 2023**

**ea - Insulator and stud, post type, vertical**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  |
|  |  | DISTRIBUTION (RUS Minimum Requirements) |
|  |  |  |  |  |
|  | System voltage, kV: | 12.5/7.2 | 12.5/7.2 | 24.9/14.4 |
|  | Leakage, inches: | 7-1/2 | 10 | 15 |
|  | Cantilever strength (pounds): | 1875 | 1875 | 1875 |
|  | Flashover, dry, kV: | 65 | 70 | 95 |
| **Technical Acceptance Period** | Flashover, wet, kV: | 40 | 50 | 65 |
|  |  |  |  |  |
| Sept 2018 – Sept 2019 | Action Manufacturing | AMl-571G | AMl-571G | AMl-571G |
|  |  |  |  |  |
| Jul 2017 – Jul 2018 | MacLean Power Systems | DP57-1 | DP57-1 | DP57C-02DP57F-04 |
|  |  |  |  |  |
| Mar 2020 – Mar 2021 | Fujian Hoshing Prosper Electrical Porcelain, Co., Ltd. | FHP7571MGFHP7571NG | FHP7571GFHP7571QG | FHP7571GGFHP7571PG |
|  |  |  |  |  |
| Dec 2023 – Dec 2024 | Newell-PSN, LLC (Mustang Electric Products, Inc.) | - | - | LPP071CLPP071F |
|  |  |  |  |  |
| Jul 2023 – Jul 2024 | Powerline Hardware | P57-1G | P57-1G | - |
|  |  |  |  |  |
| Mar 2023 – Mar 2024 | PPC Insulators | 5115  | 5120 | 5127 |
|  |  |  |  |  |
|  |  |  |  |  |
|  |  | DISTRIBUTION or TRANSMISSION |
|  |  |  |  |  |  |
|  | ANSI Class: | 57-1 | 57-2 | 57-3 | 57-4 |
| **Technical Acceptance Period** | System voltage, kV: | 15 | 22 | 34.5 | 46 |
|  |  |  |  |  |  |
| Sept 2018 – Sept 2019 | Action Manufacturing | - | AMl-572G | AMl-573G | - |
|  |  |  |  |  |  |
|  | Ceramica Santa Terezinha S.A. (CST) |  |  |  |  |
| Oct 2013 – Oct 2014 | 7" Stud |  | CST-10602-L | - | - |
| Oct 2013 – Oct 2014 | 1-3/4" Stud |  | CST-10602-S | - | - |
| Oct 2013 – Oct 2014 | without stud |  | - | CST-10603 | - |
|  |  |  |  |  |  |
| Jul 2017 – Jul 2018 | MacLean Power Systems |  |  |  |  |
|  | (without stud) |  | DP57-2 | - | - |
|  |  |  |  |  |  |
| Mar 2020 – Mar 2021 | Fujian Hoshing Prosper Electrical Porcelain, Co., Ltd. |  |  |  |  |
|  | without stud | FHP7571G | FHP7572G | FHP7573G | - |
|  |  |  |  |  |  |
| Mar 2023 – Mar 2024 | PPC Insulators | 5125 | 5135 | 5145 | - |
|  |  |  |  |  |  |
| Jul 2023 – Jul 2024 | Powerline Hardware |  | P57-2G | P57-3G | P57-4G |
|  |  |  |  |  |  |
| Mar 2020 – Mar 2021 | Suzhou PorcelainInsulator Works |  | 28712N | 28779N | 28784N |
|  |  |  |  |  |  |
| Sept 2021 – Sept 2022 | Vanguard Electric, LLC | 5701SSG1 | 5702SSG1 | 5703SSG1 | - |
|  |  |  |  |  |  |

Technical List

ea-4

December 8, 2020

ea - Insulator, line post, composite/polymer

|  |  |  |
| --- | --- | --- |
| Technical Acceptance Period | Manufacturer | ANSI Class |
|  |  |  |
| 12/2020 – 12/2021 | TE Connectivity (Raychem) |  |
|  | TE-LP15-FS1-01  | 51-1F |
|  | TE-LP25-FS1-01  | 51-2F |
|  | TE-LP35-FS1-01  | 51-3F |
|  | TE-LP15-CS1-01  | 51-1C |
|  | TE-LP25-CS1-01  | 51-2C |
|  | TE-LP35-CS1-01  | 51-3C |
|  |  |  |
|  |  |  |
|  |  |  |

Technical List

ea-5

September 15, 2021

ea - Insulator, line post, horizontal and vertical clamp-top type

|  |  |  |
| --- | --- | --- |
| Technical Acceptance Period | Manufacturer | ANSI Class |
|  |  |  |
| Sept 2021 – Sept 2022 | Vanguard Electric LLC | 57-1157-1257-13 |
|  |  |  |
|  |  |  |

**Technical List**

**eb-1**

**August 16, 2023**

**eb - Bracket, Pole Top**

For Post type Insulators

DISTRIBUTION

|  |  |  |
| --- | --- | --- |
| Technical Acceptance Period | Manufacturer | Catalog No. |
|  |  |  |
| 8/2023 – 8/2024 | GPP Solutions | PB58 |
| 12/2020 – 12/2021 | Hubbell (Chance) (14.4 or 7.2 kV) | 1B3 |
|  |  |  |

TRANSMISSION

|  |  |  |
| --- | --- | --- |
| Technical Acceptance Period | Manufacturer | Catalog No. |
|  |  |  |
| 8/2023 – 8/2024 | GPP Solutions | PB58H |
|  |  |  |

Technical List

ej-1

September 13, 2023

ej - Clamps, deadend with socket eye

ACSR

|  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Technical Acceptance Period |  |  |  |  |  |  |  |  |  |
|  |  | AWG | kcmil |
|  |  | 4/0 to 3/0 | 2/0 to 4/0 | 266.8 | 336.4 | 477 | 556.5 | 795 | 954 |
|  |  |  |  |  |  |  |  |  |  |
|  |  | Iron or Steel Clamps (requires armor tape or liner)  |
|  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |
|  |  |  Aluminum Alloy Clamps (do not require armor tape or liner) |
|  |  |  |  |  |  |  |  |  |  |
| 9/2023 – 9/2024 | GPP Solutions | SODC-47 | SODC-57N | SODC-70N | SODC-70N | SODC-88N | SODC-88N | SODC-116N | SODC-116N |
|  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  |  |

NOTE: When used with clevis-type insulators for large conductors on distribution lines, order clamp with clevis eye.

**Technical List**

**ek-1**

**August 16, 2023**

**ek - Locknuts**

MF Type

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  | For Bolt Diam., in.: | 3/8 | 1/2 | 5/8 | 3/4 | 7/8 |
|  |  |  |  |  |  |  |
| **Technical Acceptance Period** | **Manufacturer** |  |  |  |  |  |
|  |  |  |  |  |  |  |
| 9/2015 – 9/2016 | Cooper Power Systems | - | - | DF3N4 | DF3N6 | - |
| 8/2023 – 8/2024 | GPP Solutions | - | - | U8583 | U8584 | - |
| 4/2020 – 4/2021 | Romagnole | - | - | R-8583 | - | - |

**Technical List**

**el-1**

**November 23, 2021**

**el - Sectionalizer**

|  |  |
| --- | --- |
| Technical Acceptance Period | Manufacturer |
|  |  |
|  | Tavrida |
| 11/2021 – 11/2022 | Sectionalizer, three-phase, OSM15 Series\* and OSM25 Series\*, 15 and 27 kV, 800 amps max. |

NOTES: \* These units are compatible with multiple control modules.

**Technical List**

**fc-1**

**June 2014**

**fc - Capacitors, Shunt**

12470/7200 Volts

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| Manufacturer | Size | 1 Bushing | 2 Bushing | 3 Bushing |
|  |  |  |  |  |
| Shreem Electric | 50 kvar | SE7200501B | SE7200502B | - |
|  | 100 kvar | SE7201001B | SE7201002B | - |
|  | 150 kvar | SE7201501B | SE7201502B | - |
|  | 200 kvar | SE7202001B | SE7201502B | - |
|  | 300 kvar | SE7203001B | SE7203002B | - |
|  | 400 kvar | SE7204001B | SE7204002B | - |
|  | 500 kvar | SE7205001B | SE7205002B | - |
|  |  |  |  |  |
|  |  |  |  |  |

24900/14400 Volts

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| Manufacturer | Size | 1 Bushing | 2 Bushing | 3 Bushing |
|  |  |  |  |  |
| Shreem Electric | 50 kvar | SE1440501B | SE1440502B | - |
|  | 100 kvar | SE1441001B | SE1441002B | - |
|  | 150 kvar | SE1441501B | SE1441502B | - |
|  | 200 kvar | SE1442001B | SE1442002B | - |
|  | 300 kvar | SE1443001B | SE1443002B | - |
|  | 400 kvar | SE1444001B | SE1444002B | - |
|  | 500 kvar | SE1445001B | SE1445002B | - |
|  |  |  |  |  |

Technical List

ft-1

August 16, 2023

ft - Y-Clevis Ball

|  |  |  |
| --- | --- | --- |
| Technical Acceptance Period | Manufacturer | Catalog Number |
|  |  |  |
| 8/2023 – 8/2024 | GPP Solutions | UYBC30 |
|  |  |  |
|  |  |  |

**Technical List**

**gj-1**

**October 17, 2023**

**gj - Crossarm Assemblies**

Braceless, wood

|  |  |  |
| --- | --- | --- |
| Technical Acceptance Period | Manufacturer | Dimensions |
|  |  |  |
|  | Hubbell Power Systems |  |
| 10/2023 – 10/2024 | CHDDEA86EBREA | 4-1/4” x 5-1/2” x 8’-0” |
|  |  |  |
|  |  |  |

**Technical List**

**go**

**August 2019**

**go - Fault Indicator, overhead**

|  |  |  |
| --- | --- | --- |
| Technical Acceptance Period | Manufacturer | Type |
|  |  |  |
|  |  |  |
|  |  |  |
|  |  |  |

**Technical List**

**rp-1**

**January 2016**

|  |
| --- |
| **rp - Wildlife Guards**Bushings and Live Parts Covers |
|  |  |  |
| Technical Acceptance Period | Manufacturer | Catalog Number |
|  |  |  |
| 1/2016 – 1/2017 | Salisbury | 38-25SCS, 38-50SCS, 50-50SCS, 58-25SCS, 58-50SCS,34-25SCS, 34-50SCS, 100-25SCS, 125-25SCS |
|  |  |  |
|  |  |  |
| NOTE: The material composition of these items does not contain a flame-retardant unless  specified by the manufacturer. |
|  |

**Technical List**

 **sb**

**February 2011**

**sb - Switch, disconnect (single-pole, hook-operated station class)**

NEMA standard switches for station or line

structure use where single-pole switching is permissible

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| Technical Acceptance Period | Manufacturer | Type | Voltage Ratings | System VoltagesLine-to-Line |
|  |  |  |  |  |
| 2/9/2011 – 2/9/2012 | Turner Electric | THS(PL) | 15 thru 27 kV | 12.5, 13.2, 24.9 kV |
|  |  |  |  |  |

(L) Means solid material load interrupters are available and accepted.

(LV) Means vacuum interrupters are available and accepted.

\* With steel base only.

(PL) Means hooks for portable load interrupters are available for voltages 34.5 kV and below. Consult switch manufacturer concerning loop switching applications at higher voltages.

**Technial List**

**sd-1**

**September 2019**

sd - Current Transformers

Outdoor Type

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Technical Acceptance Period | Manufacturer | 600 V | 15 kV | 25 kV | 34.5 kV | 69 kV |
|  |  |  |  |  |  |  |
| 9/2019 – 9/2020 | Peak Demand Inc. | COS-6 |  |  |  |  |
|  |  | COM-6 |  |  |  |  |
|  |  | COV-6 |  |  |  |  |
|  |  | COL-6 |  |  |  |  |
|  |  |  |  |  |  |  |

NOTE: The transformer types listed above are accepted in all standard ratios. Insulation class, voltages, ratios and other necessary information should be specified when ordering.

**Technical List**

**U ae**

**August 2014**

**U ae - Arresters, Surge**

(For Underground System Pole Risers)

MOV Type

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **Technical Acceptance Period** | Manufacturer | Type | Accepted Ratings - kV | Duty | Manufacturer'Classification | Housing |
|  |  |  |  |  |  |  |
| **8/2014 – 8/2015** | Siemens Energy, Inc. | 3EK7 | 9,10,18,27 | Heavy | Riser pole | Polymer |
|  |  |  |  |  |  |  |

Technical List

U gk-1

November 2018

U gk - Terminations, Indoor

(When ordering specify conductor size, type, whether

copper or aluminum and insulation diameter)

|  |  |  |
| --- | --- | --- |
| Technical Acceptance Period | Manufacturer | Catalog No. |
|  |  |  |
|  | PREMOLDED |
|  |  |  |
|  |  |  |
|  |  |  |
|  |  |  |
|  | HEAT SHRINK |
|  |  |  |
|  |  |  |
|  |  |  |
|  | COLD SHRINK |
|  |  |  |
| 11/2018 – 11/2019 | TE Connectivity - Energy | CSTI-xxxJ Series (15, 25, 35 kV) |
|  |  | CSTI-xxxG (with grounding kit) Series (15, 25, 35 kV) |
|  |  |  |
|  |  |  |
|  |  |  |
|  |  |  |
|  | INSULATED WRAP |
|  |  |  |
|  |  |  |
|  |  |  |

Technical List

U gk-2

November 2018

U gk - Terminations, outdoor

(with mounting hardware)\*

(When ordering, specify conductor size, type, whether

copper or aluminum, insulation diameter, and type of

mounting desired)

|  |  |  |
| --- | --- | --- |
| Technical Acceptance Period | Manufacturer | Catalog Number |
|  |  |  |
|  | POLYMER |
|  | PREMOLDED |
|  |  |  |
|  |  |  |
|  |  |  |
|  |  |
|  | HEAT SHRINK |
|  |  |  |
|  |  |  |
|  |  |  |
|  | COLD SHRINK |
|  |  |  |
| 11/2018 – 11/2019 | TE Connectivity - Energy | CSTO-xxxJ Series (15, 25, 35 kV) |
|  |  | CSTO-xxxG (with grounding kit) Series (15, 25, 35 kV) |
|  |  |  |
|  |  |  |
|  | PORCELAIN |
|  |  |  |
|  |  |  |
|  |  |  |
|  |  |  |
|  |  |  |

\*Mounting Hardware is used to attach termination to mounting bracket (U hd or U hj).

NOTE: Some of the above terminators may require ordering the mounting hardware separately.

**Technical List**

**U go**

**August 2019**

**U go - Fault Indicator, underground**

(For Construction Unit UM 6-4)

|  |  |  |
| --- | --- | --- |
| Technical Acceptance Period | Manufacturer | Type |
|  |  |  |
|  |  |  |
|  |  |  |
|  |  |  |

Note: Fault indicators that require the drilling or cutting to the enclosure for mounting is not acceptable.

**Technical List**

**U hc-1**

**March 2015**

**U hc - Cable Supports**

15 and 25 kV

| Technical AcceptancePeriod | Manufacturer | Catalog Number | Grip Dia. Range (inches) |
| --- | --- | --- | --- |
|  |  |  |  |
| 3/2015 – 3/2016 | Slingco Amreica, Inc. | ZCS1893  | 0.50 - 0.63 |
|  |  | ZCS1894 | 0.63 - 0.75 |
|  |  | ZCS1895 | 0.75 - 1.00 |
|  |  | ZCS1896 | 1.00 - 1.25 |
|  |  | ZCS1897 | 1.25 - 1.50 |
|  |  | ZCS1898 | 1.50 - 1.75 |
|  |  | ZCS1899 | 1.75 - 2.00 |

**Technical List**

**U hv-1**

**February 2020**

**U hv - Cable, Underground**

15 kV, 25 kV and 35 kV Cable

(Alternative Insulation Compound)

Applicable Specification: 7 CFR 1728.204

Conductor (15 kV): Copper or Aluminum - #2 AWG through 1000 kcmil

Conductor (25 kV): Copper or Aluminum - #1 AWG through 1000 kcmil

Insulation: Tree-retardant Crosslinked Polyethylene (XLP-TR)

 (I) indicates Pirelli IE.7100 XLP-TR

 (II) indicates AT Plastic PowerGuard 320TR

 (III) indicates Union Carbide HFDB-4202

 (IV) indicates Nova Borealis LE 4212

 (V) indicates Dow HFDB 8202

 (VI) indicates Dow Endurance™ HFDC 4202 EC

Ethylene Propylene Rubber

(VII) indicates Electric Cable Compounds (ECC), Inc. ERI-3728-5

Neutral: Copper Concentric Neutral

Jacket: High Molecular Weight Polyethylene

| Manufacturer | Insulation(s) | Flat Strap Neutral Available |
| --- | --- | --- |
|  |  |  |
| American Furukawa | XLP-TR (VI) | No |
|  |  |  |
|  |  |  |

**Technical List**

**U hv-2**

**October 16, 2023**

**U hv - Cable, Underground**

600 Volt Cable

Applicable Specification: RUS Specification U-2

Conductor: Copper, #4 AWG and larger; Aluminum, #2 AWG and larger

Insulation: Cross-Linked polyethylene (XLPE)

| Technical Acceptance Period | Manufacturer | Type Conductor |
| --- | --- | --- |
|  |  |  |
| 7/2018 – 7/2019 | Changfeng Wire & Cable Co., Ltd. | Aluminum |
|  |  |  |
| 3/2018 – 3/2019 | Electrocables | Aluminum |
|  |  |  |
| 1/2016 – 1/2017 | Joy Sense | Aluminum |
|  |  |  |
| 10/2023 – 10/2024 | Shanghai Silin Special Equipment Co., LTD. (Priority Wire & Cable, INC) | Copper & Aluminum |
|  |  |  |
| 10/2023 – 10/2024 | Xiantong Wire and Cable Co., Ltd. (Priority Wire & Cable, INC) | Copper & Aluminum |
|  |  |  |
| 4/2016 – 4/2017 | Sunni Electric Wire & Cable Co., Ltd. | Aluminum |
|  |  |  |
|  |  |  |
|  |  |  |

NOTES: The manufacturers shown above have indicated that their 600-volt cable is suitable for use on 480 volt corner grounded delta circuits.

The above cable may be supplied with UL label for Type USE.

**Technical List**

**U hv-3**

**October 16, 2023**

**U hv - Cable, Underground**

600 Volt Multi-Conductor Cable

Applicable Specification: RUS Specification U-2

Conductor: Copper, #4 AWG and larger; Aluminum, #2 AWG and larger

Insulation: Cross-Linked polyethylene (XLPE)

Cable Configuration: 3 Insulated Conductors Triplexed

| **Technical Acceptance Period** | Manufacturer | Type Conductor |
| --- | --- | --- |
|  |  |  |
| 7/2023 – 7/2024 | Coreal  | Aluminum |
|  |  |  |
| 3/2018 – 3/2019 | Electrocables | Aluminum |
|  |  |  |
| 1/2023 – 1/2023 | Interamericana de Cables Venezuela S.A. (ICV, S.A.) | Copper or Aluminum |
|  |  |  |
| 1/2016 – 1/2017 | Joy Sense | Aluminum |
|  |  |  |
| 4/2016 – 4/2017 | Sunni Electric Wire & Cable Co., Ltd. | Aluminum |
|  |  |  |
| 10/2023 – 10/2024 | Shanghai Silin Special Equipment Co., Ltd. (Priority Wire & Cable, INC) | Copper or Aluminum |
|  |  |  |
| 10/2023 – 10/2024 | Xiantong Wire and Cable Co., Ltd. (Priority Wire & Cable, INC) | Copper or Aluminum |
|  |  |  |
|  |  |  |

The above cable may be supplied with UL label for Type USE.

**Technical List**

**U hv-4**

**October 16, 2023**

**U hv - Cable, Underground**

600 Volt Cable

(Alternative Cable Constructions)

Applicable Specification: RUS Specification U-2 (except as indicated below)

NOTE: Manufacturers listed below are accepted for alternatives A, B, C, D and/or E for the products listed on pages U hv-2 and U hv-3.

Alternative A: 8000 series aluminum alloy in accordance with ASTM B800 or B801.

Alternative B: Stranding in accordance with ASTM B786 for aluminum 1350 conductors or ASTM B787 for copper conductors.

Alternative C: Abuse resistant (ruggedized) (single or two layer) insulation in accordance with ICEA S-81-570.

Alternative D: Self-healing

Alternative E: Stranding in accordance with ASTM B 901 for Compressed Round Stranded Aluminum Conductors Using Single Input Wire Construction

| Technical Acceptance Period | Manufacturer | Alternative |
| --- | --- | --- |
|  |  |  |
| 1/2023 – 1/2024 | Interamericana de Cables Venezuela, S.A. (ICV) | (A) |
|  |  |  |
| 10/2023 – 10/2024 | Shanghai Silin Special Equipment Co., Ltd. (Priority Wire & Cable, INC) | (C) |
|  |  |  |
| 10/2023 – 10/2024 | Xiantong Wire and Cable Co., Ltd. (Priority Wire & Cable, INC) | (C) |
|  |  |  |
|  |  |  |
|  |  |  |
|  |  |  |
|  |  |  |