## 1Demo_OutageData
2008 Outage Data Sheet
Date (power off) | Cause | Time (power off) | Duration (min) | Number of Customers | Customers-Minutes | Date(power Restored) | Time(power Restored)
2008-01-01 | Squirrel |  | 31 | 1 | 31 |  |  | NOTE: Any cells in columns F (Customers-Minutes)
2008-01-01 | Squirrel |  | 109 | 1 | 109 |  |  | with Red font are not positive values, which means
2008-01-01 | Squirrel |  | 61 | 1 | 61 |  |  | a mistake happened when entered that data from
2008-01-01 | Vehicles |  | 44 | 40 | 1760 |  |  | RUS Interruption Reports. Please delete this row
2008-01-01 | POWER SUPPLY |  | 139 | 43 | 5977 |  |  | completely (not leave blank row) and re-enter the
2008-01-02 | Squirrel |  | 77 | 1 | 77 |  |  | data from RUS Interruption Reports
2008-01-02 | Fire |  | 79 | 1 | 79
2008-01-03 | PLANNED |  | 28 | 1 | 28
2008-01-04 | Vandals |  | 172 | 20 | 3440

## (Year)_OutageData
(Year) Outage Data Sheet
Date (power off) | Cause | Time (power off) | Duration (min) | Number of Customers | Customers-Minutes | Date(power Restored) | Time(power Restored)
NOTE: All data with the DURATION (minutes) of equal
or less than 5 minutes should be deleted.
Only 'SUSTAINED INTERRUPTION' or outages more
than 5 minutes shall be entered
Note: Columns highlighted in YELLOW are the only fields
that are required to be filled when PASTING data directly
on the OutageData sheet.
DATE (power off) field SHALL contain ONLY Date Entry.
DO NOT COMBINE both DATE & TIME on the date (power off) field!
Date/Time Combo will cause ERROR in the TMED Calculation!
Make sure that POWER SUPPLY outages are entered as "POWER SUPPLY"
Make sure that PLANNED outages are entered as "PLANNED"
Make sure that you SORT the Date (Power Off) from Oldest to Latest

## ZOutage_Template (hidden)
9999 Outage Data Sheet
Date (power off) | Cause | Time (power off) | Duration (min) | Number of Customers | Customers-Minutes | Date(power Restored) | Time(power Restored)
NOTE: Any cells in columns F (Customers-Minutes)
with Red font are not positive values, which means
a mistake happened when entered that data from
RUS Interruption Reports. Please delete this row
completely (not leave blank row) and re-enter the
data from RUS Interruption Reports
Note: Columns highlighted in YELLOW are the only fields
that are required to be filled in when entering data directly
on the OutageData sheet.

## HelpSheet (hidden)
RUS Interruption Report Spreadsheet Instructions
ü | Spreadsheet Description
This spreadsheet accompanies the RUS Bulletin on Interruption
Reporting. Data from RUS Interruption Reports are entered into the
spreadsheet in a form identical to the Interruption Report Form. The
data is stored in the spreadsheet and is then accessible to the user
for any purpose.
The data is then used to calculate daily SAIDI value for all days since
the date of the first data entry. From the daily SAIDI values, the major
event day threshold is calculated. At least two years of SAIDI values
are required, and up to five years will be used for the threshold
computation. After the threshold value is calculated, major event days
within the data are identified by yellow highlighting in each year's
outage data.
Annual values of SAIDI are then calculated for the year for which the
threshold was calculated. An overall annual value, with all days
included, is calculated, and another annual value, which only includes
major event days, is also calculated. SAIDI values that result from
power supply and planned outages are also calculated.
All data are presented in forms usable for reporting required values
to RUS. All data in the spreadsheet are accessible to the user.
ü | How to Use This Spreadsheet
Each year has three sheets: Outage Data Sheet, SAIDI Data Sheet
and MED Data Sheet.
The Outage Data Sheet contains the year's outage data, which come
from the Interruption Reporting Forms.
The SAIDI Data Sheet is created after the year's Outage Data Sheet is
finished. Any change to the Outage Data Sheet after the SAIDI Data
Sheet has been created will delete the existing SAIDI Data sheet.
The SAIDI Data Sheet is then recreated by clicking the button in
Interruption Reporting Form or the "Create SAIDI Sheet" in "Toolbox".
The MED Data Sheet contains the major event day threshold, annual
values of SAIDI with all days included, annual values of only SAIDI with
major event days, and annual values of only SAIDI from power supply
and planned outages. To get the specific MED Data Sheet, that year's
SAIDI Data Sheet and up to five preceding years of daily SAIDI data
must be available. To create the year's MED Data Sheet, click on
"Create and View Updated MED Sheets" in "ToolBox".
ü | How to Use ToolBox
You can input outage data by clicking "Input Data From RUS
Interruption Report". Enter the year for which you want to input outage
data. The Interruption Reporting Form will appear. Fill in the form
for each outage, and click "OK, Enter Next Data," after each. When
finished entering outage data for the year, click "Finish This Year's
Data, Create SAIDI Sheet" to create the year's SAIDI Data Sheet.
Data can also be entered directly into any Outage Data Sheet.
You can view any existing sheet by clicking "View Existing Sheets".
From the four submenus, choose which type of sheet you want to
view, then choose the sheet you want.
You can create a new or updated MED Data Sheet for any year in
which data is available by clicking "Create and View Updated MED/
Part G Sheets".
To create a SAIDI Data Sheet for a year, open that year's Outage
Data Sheet, then click "Create SAIDI Sheet". If a SAIDI Data Sheet
already exists for that year, it will be replaced by the new one.
You can sort all the sheets in time order by clicking "Sort Sheets".
You can get the this help sheet by clicking "Help".
ü | How to Use Interruption Reporting Form
You can use the OPTION BUTTON to segregate outage types: MED &
OTHER, POWER SUPPLY and PLANNED.
The SAIDI Data Sheet is created by clicking "Finish This Year's
Data, Create SAIDI Sheet" in the Interruption Reporting Form.
The Date format is mm/dd/yyyy; for example May 31,2005 should be
5/31/2005. The Time format is 24-hour hh:mm:ss, for example
06:12:12 and 20:24:24 are correctly formatted.
ü | How to input the data from another spreadsheet
You can copy data from another spreadsheet directly, but you have to
make sure that those copied data is in right format and right position
in the new spreadsheet. When the Outage Data Sheet is done, you
have to recreate that year's SAIDI Sheet and recreate all those MED
Data Sheets whose calculation related to this year's Outage Data
Sheet.
ü | Suggestions for Using this Spreadsheet
Read section 4.5 of IEEE 1366, IEEE Guide for Electric Power
Distribution Reliability Indices, before using this spreadsheet.
Procedure:
1: Enter all data for one year's outages, either using the Interruption
Reporting Form, or by entering it directly into the Outage Data Sheet.
2: Create that year's SAIDI Data Sheet, using either the button in the.
Interruption Reporting Form, or by opening the Outage Data Sheet and
clicking on "Create SAIDI Sheet" in the ToolBox.
3: Repeat step 1 and step 2 until all Outage Data Sheets and SAIDI
Data Sheets are finished.
4: Create any available year's MED Data Sheet in time order.
The Outage Data Sheet is the most important data sheet because
both the SAIDI Data Sheet and MED Data Sheet are created from its
data. Be sure the Outage Data Sheet is complete and correct.
Since this spreadsheet is an Excel file, you can use it any way you
use any other Excel file.
Return to Other Sheets